## PQS_PIS_003
http://apps.who.int/immunization_standards/vaccine_quality/pqs_catalogue/categorypage.aspx?id_cat=17 | [8 empty] | Nbr. of products listed: | 180 |  |  | No. of PQS equipment: | 127 |  |  | No. of PIS equipment: | 48
Refrigerator and freezer database | [12 empty] | Index | [17 empty] | Indicator per unit volume
Equipment identification | [7 empty] | Net storage capacity (litres) |  |  | Waterpack production capacities |  | Holdover time (hours) |  | Power consumption |  |  |  | Price characteristics |  |  | Gross volumes (litres) |  |  | External dimensions (cm) |  |  | Shipping characteristics |  |  | Investment cost |  |  | Energy consumption
Designation | Manufacturer (make) | Models | Code PQS | Type | Refrigerant | Temperature Zone | Freeze protection Grade | (+5°C) | (-20°C) | (-70°C) | kg ice/24hrs at 32°C with vaccines | Waterpack storage capacity (No. 0.6 waterpacks) | Cold Holdover Time | Warm Holdover Time | Electrical power (Watts) | electricity (kWh/24hrs) | Gaz (kg/24hrs) | Kerosene (litres/24hrs) | Price currency | Price in US$ | Year of price | (+5°C) | (-20°C) | (-86°C) | H (cm) | W (cm) | L (cm) | Shipping volume (m3) | Shipping weight (kg) |  | weight (kg) | Investment cost | refrigeration ($/litre) | Icepack freezing ($/kg) | Energy consumption | refrigeration (kWh/litre) | refrigeration (litre/litre) | freezing (kWh/litre) | freezing (litre/litre)
A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | AB | AC | AD | AE | AF | AG | AH | AI | AJ | AK | AL | AM | AN |  | PQS |  | PQS_refr | PQS |  | PQS_freez | PQS_refr_solar |  | PQS_refr_solar | PQS_freez_solar |  | PQS_freez_solar | PQS |  | PQS_ult
A: refrigerator; B: Electrolux; C: RCW 42 EG/CF; D: PIS E3/21-M; E: ARF; F: NH3; G: Temp; I: 10.5; J: 1.6; L: 1.1294; N: ++; Q: 2.52; T: 899; U: 899; AE: N; AF: 85.619; AG: 561.875; AH: 795.9896; AI: 0.24; AK: 1.575; AM: 2.2313 | 1 |  | 49 | TCW 2000 DC |  | 50 | HBD-116 |  | 49 | TCW 2000 DC |  | 120 | TFW 40 SDD |  | 172 | U201
refrigerator | Electrolux | RCW 42 EK/CF | PIS E3/22-M | ARF | NH3 | Temp |  | 18.2 | 1.2 |  | 0.98667 |  | 12.5 |  |  | 1.6 |  | 0.7 | 1063 | 1063 | [10 empty] | 58.4066 | 885.8333 | 1077.3649 | 0.087912 | 0.038462 | 1.3333 | 0.58333 | 1.6216 | 0.70946 | 2 |  | 53 | HBC-70 |  | 51 | HBD-286 |  | 56 | TCW 3000 DC |  | 133 | HTD-40
A: icelined refrigerator; B: Electrolux; C: TCW 1152/CF; D: PIS E3/24-M; E: ILRF; F: R134a; G: Hot; I: 169; L: 2.0571; N: 23.7; Q: 4.09; T: 1453; U: 1453; AF: 8.5976; AH: 706.3194; AI: 0.024201; AM: 1.9882 | 3 |  | 54 | HBC-200 |  | 52 | TFW 800 |  | 57 | MKS 044 |  | 146 | VFS 048 SDD
A: refrigerator & freezer; B: Electrolux; C: RCW 42AC/CF; D: PIS E3/30-M; E: CRF; F: R134a; G: Hot; I: 12; J: 12; L: 2.1; N: 6; T: 1153.64; U: 1153.64; AF: 96.1367; AG: 96.1367; AH: 549.3524 | 4 |  | 55 | MK 304 |  | 70 | MF 314 |  | 64 | PS65i
A: refrigerator & freezer; B: Electrolux; C: RCW 42DC/CF; D: PIS E3/31-M; E: SBRF; F: R134a; G: Hot; I: 14; J: 14; L: 2.4; N: 5.5; Q: 0.6; T: 1308.18; U: 1308.18; AF: 93.4414; AG: 93.4414; AH: 545.075; AI: 0.042857; AK: 0.042857; AM: 0.25 | 5 |  | 56 | TCW 3000 DC |  | 71 | MF 114 |  | 66 | BLF100 DC
A: refrigerator & freezer; B: BP Solar; C: VR50F; D: PIS E3/37-M; E: SBRF; F: R134a; G: Hot; I: 17.5; J: 5; L: 2.4; N: 3.5; Q: 1.7; T: 4524; U: 4524; AF: 258.5143; AG: 904.8; AH: 1885; AI: 0.097143; AK: 0.34; AM: 0.70833 | 6 |  | 57 | MKS 044 |  | 72 | MF 214 |  | 67 | BFRV55
A: icelined refrigerator; B: Vestfrost; C: MK144; D: PIS E3/57-M; E: ILR; F: R134a; G: Hot; I: 45; N: 45; Q: 1.07; T: 386; U: 386; AF: 8.5778; AI: 0.023778 | 7 |  | 58 | MKF 074 |  | 107 | DW-25W147 |  | 73 | VC 65-2
A: icelined refrigerator; B: Electrolux; C: TCW 1990; D: PIS E3/62-M; E: ILRF; F: R134a; G: Hot; I: 37.5; L: 16.4571; N: 38; Q: 1.92; T: 1070; U: 1070; AF: 28.5333; AH: 65.0174; AI: 0.0512; AM: 0.11667 | 8 |  | 59 | MK 204 |  | 108 | DW-25W300 |  | 74 | VC 150-2
A: icelined refrigerator; B: LEC RefrigerationPLC; C: VC 139 F; D: PIS E3/64-M; E: ILR; F: R134a; G: Hot; I: 107.5; N: 21; Q: 1.92; T: 1556; U: 1556; AF: 14.4744; AI: 0.01786 | 9 |  | 60 | MK 404 |  | 118 | TFW 3000 AC |  | 75 | VC 200-1
A: refrigerator & freezer; B: Norcoast; C: NRC 30-10; D: PIS E3/65-M; E: SBRF; F: R134a; G: Hot; I: 15.5; J: 12.2; L: 2.8; N: 4.1; Q: 0.85; T: 1900; U: 1900; AF: 122.5806; AG: 155.7377; AH: 678.5714; AI: 0.054839; AK: 0.069672; AM: 0.30357 | 10 |  | 61 | BLF100AC |  | 120 | TFW 40 SDD |  | 76 | HTC-60
A: refrigerator & freezer; B: Fortum AES; C: CFS49 ISI; D: PIS E3/70-M; E: SBRF; F: R134a; G: Hot; I: 20; J: 4.8; L: 3.6; N: 6; Q: 0.41; T: 3200; U: 3200; AF: 160; AG: 666.6667; AH: 888.8889; AI: 0.0205; AK: 0.085417; AM: 0.11389 | 11 |  | 62 | TCW 2000 AC |  | 133 | HTD-40 |  | 77 | TCW 3000 SDD
A: Icepack freezer; B: Electrolux; C: FCW 20 EG/CF; D: PIS E3/72-M; E: AF; F: NH3; G: Temp; J: 14; L: 2.4; N: ++; Q: 2.9; R: 0.6; T: 688.18; U: 688.18; AG: 49.1557; AH: 286.7417; AK: 0.20714; AM: 1.2083 | 12 |  | 63 | HBC-340 |  | 146 | VFS 048 SDD |  | 82 | TCW 2000 SDD
A: Icepack freezer; B: Electrolux; C: FCW 20 EK/CF; D: PIS E3/73-M; E: AF; F: NH3; G: Temp; J: 14; L: 2.4; N: 11; Q: 2.7; S: 0.65; T: 841; U: 841; AG: 60.0714; AH: 350.4167; AK: 0.19286; AL: 0.046429; AM: 1.125; AN: 0.27083 | 13 |  | 64 | PS65i |  |  |  |  | 84 | ZLF 100DC
A: icelined refrigerator; B: Vestfrost; C: MK074; D: PIS E3/75-M; E: ILRF; F: R134a; G: Hot; I: 20; L: 3; N: 32.5; Q: 1.62; T: 507; U: 507; AF: 25.35; AH: 169; AI: 0.081; AM: 0.54 | 14 |  | 65 | TCW 3000 AC |  |  |  |  | 86 | BFRV 15 SDD
A: refrigerator & freezer; B: Sun Frost; C: RFVB-134a; D: PIS E3/77-M; E: SBRF; F: R134a; G: Hot; I: 38.7; J: 32.5; L: 2.3; N: 3; Q: 0.64; T: 3800; U: 3800; AF: 98.1912; AG: 116.9231; AH: 1652.1739; AI: 0.016537; AK: 0.019692; AM: 0.27826 | 15 |  | 66 | BLF100 DC |  |  |  |  | 87 | VC 200 SDD
A: refrigerator & freezer; B: Dulas; C: VC-150 F; D: PIS E3/79-M; E: SBRF; F: R134a; G: Hot; I: 85; J: 14.4; L: 8.7; N: 4.6; Q: 2.4; T: 2441; U: 2441; AF: 28.7176; AG: 169.5139; AH: 280.5747; AI: 0.028235; AK: 0.16667; AM: 0.27586 | 16 |  | 67 | BFRV55 |  |  |  |  | 88 | VLS 054 SDD Greenline
A: Icepack freezer; B: Electrolux; C: TFW800; D: PIS E3/80-M; E: CF; F: R134a; G: Hot; J: 145; L: 18.6429; N: 14; Q: 5.77; T: 1433; U: 1433; AG: 9.8828; AH: 76.8659; AK: 0.039793; AM: 0.3095 | 17 |  | 68 | VLS 400 Greenline |  |  |  |  | 89 | TCW 40 SDD
A: icelined refrigerator; B: Vestfrost; C: MK204; D: PIS E3/81-M; E: ILR; F: R134a; G: Hot; I: 63; N: 46; Q: 1.41; T: 450; U: 450; AF: 7.1429; AI: 0.022381 | 18 |  | 69 | MK 144 |  |  |  |  | 90 | TCW 2043 SDD
A: icelined refrigerator; B: Vestfrost; C: MK304; D: PIS E3/82-M; E: ILR; F: R134a; G: Hot; I: 108; N: 49; Q: 1.67; T: 532; U: 532; AF: 4.9259; AI: 0.015463 | 19 |  | 73 | VC 65-2 |  |  |  |  | 92 | TCW 3043 SDD
A: refrigerator & freezer; B: TATA BP Solar; C: TBP VR 50; D: PIS E3/83; E: SBRF; F: R134a; G: Hot; I: 18; J: 5; L: 6.4; N: 5.5; Q: 1.5; T: 2950; U: 2950; AF: 163.8889; AG: 590; AH: 460.9375; AI: 0.083333; AK: 0.3; AM: 0.23438 | 20 |  | 74 | VC 150-2 |  |  |  |  | 95 | VC150SDD
A: refrigerator & freezer; B: Sibir; C: V 170 GE; D: PIS E3/84-M; E: ARF; F: NH3; G: Hot; I: 55; J: 36; L: 1.2; N: 3; Q: 8.3; R: 0.8; T: 832.7; U: 832.7; AF: 15.14; AG: 23.1306; AH: 693.9167; AI: 0.15091; AK: 0.23056; AM: 6.9167 | 21 |  | 75 | VC 200-1 |  |  |  |  | 96 | GVR 50 SDD
A: refrigerator & freezer; B: Sibir; C: V 170 EK; D: PIS E3/85-M; E: ARF; F: NH3; G: Hot; I: 55; J: 36; L: 0.96; N: 3.6; S: 1.4; T: 1106; U: 1106; AF: 20.1091; AG: 30.7222; AH: 1152.0833; AJ: 0.025455; AL: 0.038889; AN: 1.4583 | 22 |  | 76 | HTC-60 |  |  |  |  | 97 | GVR 100 SDD
A: refrigerator & freezer; B: Sibir; C: V 110 GE; D: PIS E3/86-M; E: ARF; F: NH3; G: Hot; I: 17; J: 15; L: 1.0286; N: 3; R: 0.5; T: 711; U: 711; AF: 41.8235; AG: 47.4; AH: 691.25 | 23 |  | 77 | TCW 3000 SDD |  |  |  |  | 99 | ZLF150DC
A: refrigerator; B: Sibir; C: V 110 KE; D: PIS E3/87-M; E: ARF; F: NH3; G: Temp; I: 17; J: 15; L: 0.6; N: ++; S: 0.5; T: 805; U: 805; AF: 47.3529; AG: 53.6667; AH: 1341.6667; AJ: 0.029412; AL: 0.033333; AN: 0.83333 | 24 |  | 78 | VLS 200 Greenline |  |  |  |  | 100 | VLS 094 SDD Greenline
A: refrigerator & freezer; B: Electrolux; C: RCW 50 EG/CF; D: PIS E3/88-M; E: ARF; F: NH3; G: Hot; I: 24; L: 2.4; N: 4.4; Q: 3.5; R: 0.5; T: 1122; U: 1122; AF: 46.75; AH: 467.5; AI: 0.14583; AM: 1.4583 | 25 |  | 79 | VLS 300 Greenline |  |  |  |  | 101 | VLS 154 SDD Greenline
A: refrigerator & freezer; B: Zero Appliances; C: PR 245 K/E; D: PIS E3/89-M; E: ARF; F: NH3; G: Temp; I: 18; J: 20; L: 3.0857; N: 3.2; S: 0.46; T: 670; U: 670; AF: 37.2222; AG: 33.5; AH: 217.1296; AJ: 0.025556; AL: 0.023; AN: 0.14907 | 26 |  | 80 | VLS 350 Greenline |  |  |  |  | 102 | ZLF30DC SDD
A: refrigerator & freezer; B: Zero Appliances; C: GR 245 G/E; D: PIS E3/90-M; E: ARF; F: NH3; G: Temp; I: 18; J: 20; L: 3.3231; N: 3; R: 0.5; T: 615; U: 615; AF: 34.1667; AG: 30.75; AH: 185.0694 | 27 |  | 81 | HBC-110 |  |  |  |  | 103 | HTC-60H
A: refrigerator & freezer; B: Electrolux; C: RCW 50 EK; D: PIS E3/91-M; E: ARF; F: NH3; G: Hot; I: 24; L: 2.4; N: 6.5; S: 0.8; T: 1268; U: 1268; AF: 52.8333; AH: 528.3333; AJ: 0.033333; AN: 0.33333 | 28 |  | 82 | TCW 2000 SDD |  |  |  |  | 104 | HTCD-160
A: refrigerator & freezer; B: Norcoast; C: Model 120-30; D: PIS E3/92-M; E: SBRF; F: R134a; G: Hot; I: 63; J: 30; L: 4.32; N: 3.5; Q: 0.97; T: 2600; U: 2600; AF: 41.2698; AG: 86.6667; AH: 601.8519; AI: 0.015397; AK: 0.032333; AM: 0.22454 | 29 |  | 83 | ZLF 100AC |  |  |  |  | 105 | Dulas VC 110 SDD
A: refrigerator & freezer; B: Electrolux; C: RCW 50DC/CF; D: PIS E3/93-M; E: SBRF; F: R134a; G: Hot; I: 24; J: 4.8; L: 5.76; N: 9; Q: 1.39; T: 1268; U: 1268; AF: 52.8333; AG: 264.1667; AH: 220.1389; AI: 0.057917; AK: 0.28958; AM: 0.24132 | 30 |  | 84 | ZLF 100DC |  |  |  |  | 106 | Dulas VC88 SDD
A: refrigerator & freezer; B: Electrolux; C: RCW 50 AC; D: PIS E3/94-M; E: CRF; F: R134a; G: Hot; I: 24; J: 8; L: 3.9724; N: 16; Q: 2.02; T: 1172; U: 1172; AF: 48.8333; AG: 146.5; AH: 295.0347; AI: 0.084167; AK: 0.2525; AM: 0.50851 | 31 |  | 85 | HBC-340 |  |  |  |  | 114 | TCW 15R SDD
A: Icepack freezer; B: Zero Appliances; C: PF 230 IP KE; D: PIS E3/95-M; E: AF; F: NH3; G: Hot; J: 144; L: 5.4; N: ++; S: 0.93; T: 906; U: 906; AG: 6.2917; AH: 167.7778; AL: 0.0064583; AN: 0.17222 | 32 |  | 86 | BFRV 15 SDD |  |  |  |  | 115 | TCW 40R SDD
A: Vaccine/icepack freezer; B: Vestfrost; C: MF114; D: PIS E3/96-M; E: CF; F: R134a; G: Hot; J: 72; L: 17.5; N: 13; Q: 1.58; T: 284; U: 284; AG: 3.9444; AH: 16.2286; AK: 0.021944; AM: 0.090286 | 33 |  | 87 | VC 200 SDD |  |  |  |  | 116 | VLS 024 SDD Greenline
A: Vaccine/icepack freezer; B: Vestfrost; C: MF214; D: PIS E3/97-M; E: CF; F: R134a; G: Hot; J: 192; L: 22.86; N: 15.5; Q: 1.93; T: 321; U: 321; AG: 1.6719; AH: 14.042; AK: 0.010052; AM: 0.084427 | 34 |  | 88 | VLS 054 SDD Greenline |  |  |  |  | 121 | HTCD 90 SDD
A: Vaccine/icepack freezer; B: Vestfrost; C: MF314; D: PIS E3/98-M; E: CF; F: R134a; G: Hot; J: 264; L: 32.4; N: 17.5; Q: 2.71; T: 367; U: 367; AG: 1.3902; AH: 11.3272; AK: 0.010265; AM: 0.083642 | 35 |  | 89 | TCW 40 SDD |  |  |  |  | 122 | HTC 40 SDD
A: Vaccine/icepack freezer; B: Electrolux; C: FCW 300; D: PIS E3/99-M; E: CF; F: R134a; G: Hot; J: 264; L: 7.2; N: 15; Q: 2.98; T: 1172; U: 1172; AG: 4.4394; AH: 162.7778; AK: 0.011288; AM: 0.41389 | 36 |  | 90 | TCW 2043 SDD |  |  |  |  | 123 | HTC 110 SDD
A: Vaccine/icepack freezer; B: Electrolux; C: FCW 200; D: PIS E3/100-M; E: CF; F: R134a; G: Hot; J: 144; L: 7.2; N: 14; Q: 1.44; T: 1172; U: 1172; AG: 8.1389; AH: 162.7778; AK: 0.01; AM: 0.2 | 37 |  | 91 | ZLF 150AC |  |  |  |  | 124 | TCW 15 SDD
A: refrigerator & freezer; B: Solamatic; C: PVR150; D: PIS E3/101-M; E: SBRF; F: R134a; G: Hot; I: 30; J: 7.2; L: 3.6; N: 5.5; Q: 0.98; T: 2000; U: 2000; AF: 66.6667; AG: 277.7778; AH: 555.5556; AI: 0.032667; AK: 0.13611; AM: 0.27222 | 38 |  | 92 | TCW 3043 SDD |  |  |  |  | 125 | VC50 SDD
A: refrigerator & freezer; B: Zero Appliances; C: GR 265 G/E; D: PIS E3/102-M; E: ARF; F: NH3; G: Hot; I: 16; L: 1.8; N: 3.5; Q: 8; R: 0.9; T: 846; U: 846; AF: 52.875; AH: 470; AI: 0.5; AM: 4.4444 | 39 |  | 93 | GVR 50 AC |  |  |  |  | 131 | VC 60 SDD-1
A: refrigerator & freezer; B: Dulas; C: VC-65 F; D: PIS E3/103-M; E: SBRF; F: R134a; G: Hot; I: 37.5; J: 9.6; L: 3.0476; N: 5.8; Q: 0.67; T: 3499; U: 3499; AF: 93.3067; AG: 364.4792; AH: 1148.1094; AI: 0.017867; AK: 0.069792; AM: 0.21984 | 40 |  | 94 | GVR 100 AC |  |  |  |  | 132 | VC 30 SDD
A: refrigerator & freezer; B: Kyocera Solar; C: VaccPack XL 2100; D: PIS E3/104-M; E: SBRF; F: R134a; G: Hot; I: 21; J: 9.6; L: 5.3832; N: 21.7; Q: 0.47; T: 2985; U: 2985; AF: 142.1429; AG: 310.9375; AH: 554.5052; AI: 0.022381; AK: 0.048958; AM: 0.087309 | 41 |  | 95 | VC150SDD |  |  |  |  | 137 | Ultra 16 SDD
A: refrigerator & freezer; B: Kyocera Solar; C: VaccPack XL 6000; D: PIS E3/105-M; E: SBRF; F: R134a; G: Hot; I: 60; J: 9.6; L: 2.6182; N: 17; Q: 1.02; T: 4985; U: 4985; AF: 83.0833; AG: 519.2708; AH: 1903.9931; AI: 0.017; AK: 0.10625; AM: 0.38958 | 42 |  | 96 | GVR 50 SDD |  |  |  |  | 138 | VLS 026 RF Green Line
A: refrigerator & freezer; B: Bright Light Solar; C: PS65; D: PIS E3/106-M; E: SBRF; F: R134a; G: Hot; I: 37.5; J: 9.6; L: 6.4; N: 3; Q: 0.7; T: 3400; U: 3400; AF: 90.6667; AG: 354.1667; AH: 531.25; AI: 0.018667; AK: 0.072917; AM: 0.10937 | 43 |  | 97 | GVR 100 SDD |  |  |  |  | 139 | VLS 056 RF SDD
A: icelined refrigerator; B: Electrolux; C: TCW 3000; D: PIS E3/107-M; E: ILRF; F: R134a; G: Hot; I: 126.5; L: 5.4486; N: 61.7; Q: 1.17; T: 2318.75; U: 2318.75; AF: 18.33; AH: 425.5642; AI: 0.009249; AM: 0.21473 | 44 |  | 98 | ZLF30AC |  |  |  |  | 140 | TCW 4000 SDD
A: refrigerator & freezer; B: Zero Appliances; C: PR 265 K/E; D: PIS E3/108-M; E: ARF; F: NH3; G: Hot; I: 37.5; J: 9.6; L: 2.4; N: 6; Q: 8; T: 1038; U: 1038; AF: 27.68; AG: 108.125; AH: 432.5; AI: 0.21333; AK: 0.83333; AM: 3.3333 | 45 |  | 99 | ZLF150DC |  |  |  |  | 142 | GVR 55 FF DC
A: refrigerator & freezer; B: Bright Light Solar; C: PS40; D: PIS E3/109-M; E: SBRF; F: R134a; G: Hot; I: 18; J: 2.4; L: 2.4; N: 3.67; Q: 0.32; T: 3400; U: 3400; AF: 188.8889; AG: 1416.6667; AH: 1416.6667; AI: 0.017778; AK: 0.13333; AM: 0.13333 | 46 |  | 100 | VLS 094 SDD Greenline |  |  |  |  | 145 | CFD-50 SDD
A: refrigerator & freezer; B: PT. Dilihan Glory; C: DOVLINE; D: PIS E3/110-M; E: CRF; F: R134a; G: Temp; I: 16; L: 16; N: 7.8; Q: 0.265; AF: 0; AH: 0; AI: 0.016563; AM: 0.016563 | 47 |  | 101 | VLS 154 SDD Greenline |  |  |  |  | 149 | HTC-112
A: icelined refrigerator & vac/icepack freezer; B: Electrolux; C: TCW 2000; D: PIS E3/111-M; E: ILRF; F: R134a; G: Hot; I: 60; J: 42; L: 28.8; N: 44.36; Q: 2.88; T: 2411.5; U: 2411.5; AF: 40.1917; AG: 57.4167; AH: 83.7326; AI: 0.048; AK: 0.068571; AM: 0.1 | 48 |  | 102 | ZLF30DC SDD |  |  |  |  | 152 | GVR 25 Lite DC
Vaccine refrigerator or icepack freezer | B Medical Systems Sarl (Dometic) | TCW 2000 DC | PQS E003/001 | SBRF | R134a | Hot | Grade A | 76 | 30 |  | 3.4 | 26 | 13.6 |  |  | 0.99 |  |  | 2770 | 3324 | 2016 | 118 | 50 |  | 91 | 127 | 78 | 1.05 | 125 | Y | 43.7368 | 110.8 | 977.6471 | 0.013026 |  | 0.033 |  | 0.29118 |  | 49 | 49 | 103 | HTC-60H |  |  |  | 49 | 153 | VLS 054A SDD Greenline
Vaccine/icepack freezer | Haier | HBD-116 | PQS E003/002 | CF | R134a | Hot | N/A |  | 121 |  | 12 | 204 | 2.29 |  |  | 0.38 |  |  | 410 | 410 | 2016 |  | 121 |  | 82 | 67 | 63 | 0.5 | 79 | Y |  | 3.3884 | 34.1667 |  |  | 0.0031405 |  | 0.031667 |  | 50 |  | 104 | HTCD-160 | 50 |  |  |  | 154 | VLS 094A SDD Greenline
Vaccine/icepack freezer | Haier | HBD-286 | PQS E003/003 | CF | R134a | Hot | N/A |  | 224 |  | 16.8 | 495 | 4.09 |  |  | 4.36 |  |  | 521 | 521 | 2016 |  | 298 |  | 80 | 124 | 63 | 0.88 | 79 | Y |  | 2.3259 | 31.0119 |  |  | 0.019464 |  | 0.25952 |  | 51 |  | 105 | Dulas VC 110 SDD | 51 |  |  |  | 155 | VLS 154A SDD Greenline
Icepack freezer | B Medical Systems Sarl (Dometic) | TFW 800 | PQS E003/004 | CF | R134a | Hot | N/A |  | 247 |  | 36 | 179 | 3.5 |  |  | 3.98 |  |  | 2579 | 3094.8 | 2016 |  | 290 |  | 180.5 | 60 | 70.5 | 1.208 | 143 |  |  | 12.5296 | 85.9667 |  |  | 0.016113 |  | 0.11056 |  | 52 |  | 106 | Dulas VC88 SDD | 52 |  |  |  | 163 | HTC-120
A: icelined refrigerator; B: Haier; C: HBC-70; D: PQS E003/005; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 45; N: 27.18; Q: 0.64; T: 510; U: 510; V: 2016; W: 71; Z: 81.8; AA: 67.3; AB: 66.3; AC: 0.56; AD: 64; AF: 11.3333; AI: 0.014222 | 53 | 53 | 109 | VLS 200A Greenline |  |  |  |  | 164 | HTC-240
A: icelined refrigerator; B: Haier; C: HBC-200; D: PQS E003/006; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 90; N: 31.23; Q: 1.34; T: 688; U: 688; V: 2016; W: 198; Z: 81.8; AA: 124.3; AB: 63; AC: 0.91; AD: 108; AF: 7.6444; AI: 0.014889 | 54 | 54 | 110 | VLS 300A Greenline |  |  |  |  | 165 | ARKTEK YBC-10 SDD
A: icelined refrigerator; B: Vestfrost; C: MK 304; D: PQS E003/007; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 105; N: 25.66; Q: 3.2; T: 793; U: 951.6; V: 2016; W: 218; Z: 84; AA: 69; AB: 126; AC: 1.02; AD: 126; AF: 9.0629; AI: 0.030476 | 55 | 55 | 111 | VLS 350A Greenline |  |  |  |  | 166 | VLS 076 SDD
Vaccine refrigerator or icepack freezer | B Medical Systems Sarl (Dometic) | TCW 3000 DC | PQS E003/008 | SBRorF | R134a | Hot | Grade A | 109.5 | 48 |  | 3.4 | 80 | 23.4 |  |  | 1.82 |  |  | 2719 | 3262.8 | 2016 | 204 |  |  | 90.5 | 126 | 82.5 | 1.05 | 125 | Y | 29.7973 | 67.975 | 959.6471 | 0.016621 |  | 0.037917 |  | 0.53529 |  | 56 | 56 | 112 | VLS 400A Greenline |  |  |  | 56 | 168 | TCW 80-SDD
A: Refrigerator; B: Vestfrost; C: MKS 044; D: PQS E003/009; E: SDR; F: R600a; G: Temp; H: Not Tested; I: 19.5; N: 114; Q: 0.51; T: 2318; U: 2781.6; V: 2016; W: 48; Z: 87.6; AA: 72.7; AB: 69.7; AC: 0.65; AD: 88; AF: 142.6462; AI: 0.026154 | 57 | 57 | 113 | TCW 4000 AC |  |  |  | 57
icelined refrigerator - water-pack freezer | Vestfrost | MKF 074 | PQS E003/010 | ILRF | R134a | Temp | Not Tested | 16 | 5.4 |  | 1.6 | 9 | 52.54 |  |  | 3.46 |  |  | 725 | 870 | 2016 | 54 | 10 |  | 84 | 70 | 72 | 0.65 | 90 |  | 54.375 | 161.1111 | 543.75 | 0.21625 |  | 0.64074 |  | 2.1625 |  | 58 | 58 | 114 | TCW 15R SDD
A: icelined refrigerator; B: Vestfrost; C: MK 204; D: PQS E003/011; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 75; N: 20.1; Q: 1.89; T: 674; U: 808.8; V: 2016; W: 136; Z: 84; AA: 70; AB: 92; AC: 0.752; AD: 102; AF: 10.784; AI: 0.0252 | 59 | 59 | 115 | TCW 40R SDD
A: icelined refrigerator; B: Vestfrost; C: MK 404; D: PQS E003/012; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 135; N: 23.23; Q: 3.08; T: 900; U: 1080; V: 2016; W: 240; Z: 84; AA: 70; AB: 156; AC: 1.264; AF: 8; AI: 0.022815 | 60 | 60 | 116 | VLS 024 SDD Greenline
A: icelined refrigerator; B: True Energy; C: BLF100AC; D: PQS E003/013*; E: ILR; F: R134a; G: Hot; I: 103; N: 97.7; Q: 8; T: 1993; U: 1993; V: 2016; W: 125; Z: 200; AA: 89; AB: 76; AC: 1.5; AD: 175; AF: 19.3495; AI: 0.07767 | 61 | 61 | 117 | VLS 064 RF
ice-lined refrigerator/icepack freezer | B Medical Systems Sarl (Dometic) | TCW 2000 AC | PQS E003/014 | ILRF | R134a | Hot | Grade A | 60 | 12 |  | 2.4 | 20 | 39.4 |  |  | 1.87 |  |  | 2509 | 3010.8 | 2016 | 99 | 43 |  | 90 | 127 | 78 | 1.05 | 125 | Y | 50.18 | 250.9 | 1254.5 | 0.031167 |  | 0.15583 |  | 0.77917 |  | 62 | 62 | 119 | VC 225 ILR
A: icelined refrigerator; B: Haier; C: HBC-340; D: PQS E003/015*; E: ILR; F: R134a; G: Hot; I: 200; N: 34.47; Q: 2.73; T: 1196; U: 1196; V: 2011; W: 340; Z: 164.4; AA: 65; AB: 84.6; AC: 1.42; AD: 165; AF: 5.98; AI: 0.01365 | 63 | 63 | 121 | HTCD 90 SDD
Refrigerator-icepack freezer | True Energy | PS65i | PQS E003/016* | SBRF | R134a | Hot |  | 37.5 |  |  | 2.4 | 16 | 4.4 |  |  | 0.32 |  |  | 1300 | 1820 | 2011 | 61 | 24 |  | 116 | 60 | 84 | 0.66 | 90 |  | 48.5333 |  | 758.3333 | 0.0085333 |  |  |  | 0.13333 |  | 64 | 64 | 122 | HTC 40 SDD |  |  |  | 64
ice-lined refrigerator/icepack freezer | B Medical Systems Sarl (Dometic) | TCW 3000 AC | PQS E003/017 | ILRF | R134a | Hot | Grade A | 150 |  |  |  | 112.2 | 53 |  |  | 1.37 |  |  | 2615 | 3138 | 2016 | 204 | 204 |  | 91 | 127 | 78 | 1.071 | 125 | Y | 20.92 |  |  | 0.0091333 | [5 empty] | 65 | 65 | 123 | HTC 110 SDD
A: Solar direct drive refrigerator witout battery; B: True Energy; C: BLF100 DC; D: PQS E003/019*; E: SDR; F: R600a; G: Hot; I: 93; N: 170; Q: 1.295; T: 3995; U: 3995; V: 2011; W: 124; Z: 187; AA: 89; AB: 76; AC: 1.5; AD: 150; AF: 42.957; AI: 0.013925 | 66 | 66 | 124 | TCW 15 SDD |  |  |  | 66
A: Solar direct drive refrigerator witout battery; B: SunDanzer; C: BFRV55; D: PQS E003/020; E: SDR; F: R134a; G: Hot; H: Grade A; I: 54.5; N: 65.2; Q: 0.49; T: 3399; U: 3399; V: 2016; W: 60.1; Z: 88; AA: 96.5; AB: 71; AC: 0.68; AD: 99; AE: Y; AF: 62.367; AI: 0.0089908 | 67 | 67 | 125 | VC50 SDD |  |  |  | 67
A: icelined refrigerator; B: Vestfrost; C: VLS 400 Greenline; D: PQS E003/021; E: ILR; F: R600a; G: Hot; H: Not Tested; I: 216; N: 30; Q: 0.82; T: 826; U: 991.2; V: 2016; W: 235; Z: 86; AA: 127; AB: 70; AC: 1.02; AD: 126; AF: 4.5889; AI: 0.0037963 | 68 | 68 | 126 | CFD-50
A: icelined refrigerator; B: Vestfrost; C: MK 144; D: PQS E003/022; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 48; N: 43; Q: 2.3; T: 614; U: 736.8; V: 2016; W: 63.7; Z: 88; AA: 96.5; AB: 71; AC: 0.58; AD: 70; AF: 15.35; AI: 0.047917 | 69 | 69 | 127 | GVR 51 LITE AC
Vaccine/icepack freezer | Vestfrost | MF 314 | PQS E003/023 | CF | R134a | Hot | N/A |  | 281 |  | 7.2 | 256 | 4 |  |  | 4.23 |  |  | 573 | 687.6 | 2016 |  | 281 |  | 84 | 156 | 70 | 1.161 | 108.5 | Y |  | 2.447 | 95.5 |  |  | 0.015053 |  | 0.5875 |  | 70 |  | 128 | GVR 75 Lite | 70
Vaccine/icepack freezer | Vestfrost | MF 114 | PQS E003/024 | CF | R134a | Hot | N/A |  | 105 |  | 7.2 | 64 | 2.8 |  |  | 2.23 |  |  | 421 | 505.2 | 2016 |  | 105 |  | 84 | 72 | 70 | 0.58 | 70 | Y |  | 4.8114 | 70.1667 |  |  | 0.021238 |  | 0.30972 |  | 71 |  | 129 | GVR 99 Lite | 71
Vaccine/icepack freezer | Vestfrost | MF 214 | PQS E003/025 | CF | R134a | Hot | N/A |  | 171 |  | 7.2 | 160 | 2.9 |  |  | 3 |  |  | 490 | 588 | 2016 |  | 171 |  | 84 | 113 | 70 | 0.846 | 96.3 | Y |  | 3.4386 | 81.6667 |  |  | 0.017544 |  | 0.41667 |  | 72 |  | 130 | GVR 225 AC | 72
Solaire refrigerator & freezer | Dulas | VC 65-2 | PQS E003/026 | SBRF | R134a | Hot | Not Tested | 37.5 |  |  | 2.4 | 18 | 3 |  |  | 0.55 |  |  | 3275 | 3930 | 2016 | 48.3 | 24.3 |  | 93.6 | 92.9 | 77.7 | 0.887 | 92 |  | 104.8 |  | 1637.5 | 0.014667 |  |  |  | 0.22917 |  | 73 | 73 | 131 | VC 60 SDD-1 |  |  |  | 73
Solaire refrigerator & freezer | Dulas | VC 150-2 | PQS E003/027 | SBRF | R134a | Hot | Not Tested | 86 |  |  | 2.4 | 26 | 3 |  |  | 0.68 |  |  | 4275 | 5130 | 2016 | 111.2 | 33.1 |  | 92.9 | 128.5 | 78.1 | 1.075 | 111 |  | 59.6512 |  | 2137.5 | 0.007907 |  |  |  | 0.28333 |  | 74 | 74 | 132 | VC 30 SDD |  |  |  | 74
A: Solaire refrigerator; B: Dulas; C: VC 200-1; D: PQS E003/028; E: SBR; F: R134a; G: Hot; H: Not Tested; I: 126.5; N: 3; Q: 0.63; T: 3050; U: 3660; V: 2016; W: 155.1; Z: 93.3; AA: 128.5; AB: 78.1; AC: 1.075; AD: 95; AF: 28.9328; AI: 0.0049802 | 75 | 75 | 134 | HBC-260 |  |  |  | 75
A: Solar direct drive refrigerator witout battery; B: Haier; C: HTC-60; D: PQS E003/029; E: SDR; F: R600a; G: Temp; H: Not Tested; I: 21; N: 135; T: 2500; U: 2500; V: 2016; W: 60; Z: 78.8; AA: 87.5; AB: 65.4; AC: 0.7; AD: 98; AF: 119.0476 | 76 | 76 | 135 | HBC-150 |  |  |  | 76
A: Solar direct drive refrigerator witout battery; B: B Medical Systems Sarl (Dometic); C: TCW 3000 SDD; D: PQS E003/030; E: SDR; F: R600a; G: Temp; H: Grade A; I: 156; N: 86; T: 5749; U: 6898.8; V: 2016; W: 278; Z: 91; AA: 127; AB: 78; AC: 1.07; AD: 114; AE: Y; AF: 44.2231 | 77 | 77 | 136 | HBC-80 |  |  |  | 77
A: icelined refrigerator; B: Vestfrost; C: VLS 200 Greenline; D: PQS E003/031; E: ILR; F: R600a; G: Hot; H: Not Tested; I: 59.5; N: 24; Q: 0.71; T: 582; U: 698.4; V: 2016; W: 113; Z: 80; AA: 73; AB: 70; AC: 0.58; AD: 70; AF: 11.7378; AI: 0.011933 | 78 | 78 | 137 | Ultra 16 SDD
A: icelined refrigerator; B: Vestfrost; C: VLS 300 Greenline; D: PQS E003/032; E: ILR; F: R600a; G: Hot; H: Not Tested; I: 148; N: 23.5; Q: 0.69; T: 698; U: 837.6; V: 2016; W: 157; Z: 85; AA: 70; AB: 92; AC: 0.75; AD: 93; AF: 5.6595; AI: 0.0046622 | 79 | 79 | 138 | VLS 026 RF Green Line
A: icelined refrigerator; B: Vestfrost; C: VLS 350 Greenline; D: PQS E003/033; E: ILR; F: R600a; G: Hot; H: Not Tested; I: 196; N: 31.5; Q: 0.64; T: 780; U: 936; V: 2016; W: 209; Z: 85; AA: 70; AB: 113; AC: 0.85; AD: 110; AF: 4.7755; AI: 0.0032653 | 80 | 80 | 139 | VLS 056 RF SDD
A: icelined refrigerator; B: Haier; C: HBC-110; D: PQS E003/034; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 52.5; N: 36.17; Q: 1.2; T: 590; U: 590; V: 2016; W: 110; Z: 86; AA: 63; AB: 81.8; AC: 0.636; AD: 93; AF: 11.2381; AI: 0.022857 | 81 | 81 | 140 | TCW 4000 SDD
Solar direct drive refrigerator witout battery | B Medical Systems Sarl (Dometic) | TCW 2000 SDD | PQS E003/035 | SDRF | R600a | Temp | Grade A | 99 |  |  | 2.4 | 16 | 85.24 | [5 empty] | 8580 | 10296 | 2016 | 119 | 42 |  | 127 | 78 | 91 | 1.07 | 125 | Y | 104 |  | 4290 | [6 empty] | 82 | 82 | 141 | VLS 500A AC |  |  |  | 82
A: icelined refrigerator; B: Zero Appliances; C: ZLF 100AC; D: PQS E003/036; E: ILR; F: R134a; G: Hot; H: Grade A; I: 99; N: 113.7; Q: 1.96; T: 2015; U: 2015; V: 2016; W: 124; Z: 178; AA: 85; AB: 71; AC: 1.132; AD: 100; AE: Y; AF: 20.3535; AI: 0.019798 | 83 | 83 | 142 | GVR 55 FF DC
A: Solar direct drive refrigerator and/or freezer; B: Zero Appliances; C: ZLF 100DC; D: PQS E003/037; E: SDR; F: R600a; G: Hot; H: Grade A; I: 93; N: 72; T: 5283; U: 5283; V: 2016; W: 99; Z: 180; AA: 85; AB: 73; AC: 1.132; AD: 115; AE: Y; AF: 56.8065 | 84 | 84 | 143 | ZLF80AC |  |  |  | 84
A: icelined refrigerator; B: Haier; C: HBC-340; D: PQS E003/038; E: ILR; F: R134a; G: Hot; H: Not Tested; I: 211; N: 45.38; Q: 2.06; T: 1180; U: 1180; V: 2016; W: 240; Z: 165; AA: 65; AB: 85.5; AC: 1.42; AD: 165; AF: 5.5924; AI: 0.009763 | 85 | 85 | 144 | HBCD-90
A: Solar direct drive refrigerator witout battery; B: SunDanzer; C: BFRV 15 SDD; D: PQS E003/039; E: SDR; F: R134a; G: Hot; H: Grade A; I: 15; N: 101.19; T: 2295; U: 2295; V: 2016; W: 2017; Z: 78; AA: 70; AB: 60.5; AC: 1.27; AD: 147; AE: Y; AF: 153 | 86 | 86 | 145 | CFD-50 SDD |  |  |  | 86
A: Solar direct drive refrigerator witout battery; B: Dulas; C: VC 200 SDD; D: PQS E003/040; E: SDR; F: R600a; G: Hot; H: Grade A; I: 132; N: 79.29; T: 4050; U: 4050; V: 2016; W: 205.2; Z: 73.1; AA: 94.5; AB: 128.5; AC: 1.2; AD: 129; AE: Y; AF: 30.6818 | 87 | 87 | 147 | TCW 40R AC |  |  |  | 87
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 054 SDD Greenline; D: PQS E003/041; E: SDR; F: R600a; G: Hot; H: Grade A; I: 55.5; N: 72.4; T: 2874; U: 2874; V: 2016; W: 108; Z: 85; AA: 72; AB: 60; AC: 0.65; AD: 85; AE: Y; AF: 51.7838 | 88 | 88 | 148 | TCW 80 AC |  |  |  | 88
Solar direct drive combined refrigerator/freezer | B Medical Systems Sarl (Dometic) | TCW 40 SDD | PQS E003/042 | SDRF | R600a | Hot | Grade A | 36 |  |  | 5.2 | 4.8 | 81.54 | [5 empty] | 5279 | 6334.8 | 2016 | 46.6 | 4.8 |  | 78 | 103 | 90 | 0.88 | 120 | Y | 175.9667 |  | 1218.2308 | [6 empty] | 89 | 89 | 149 | HTC-112 |  |  |  | 89
Solar direct drive combined refrigerator/freezer | B Medical Systems Sarl (Dometic) | TCW 2043 SDD | PQS E003/043 | SDRF | R600a | Hot | Grade A | 70 |  |  | 2.5 | 9.6 | 73.54 | [5 empty] | 8158 | 9789.6 | 2016 | 79 | 42 |  | 91 | 127 | 78 | 1.07 | 160 | Y | 139.8514 |  | 3915.84 | [6 empty] | 90 | 90 | 150 | GVR 55 FF AC |  |  |  | 90
A: icelined refrigerator; B: Zero Appliances; C: ZLF 150AC; D: PQS E003/044; E: ILR; F: R134a; G: Hot; H: Grade A; I: 128; N: 128.2; Q: 2.03; T: 2429; U: 2429; V: 2016; W: 161; Z: 190; AA: 85; AB: 72; AC: 1.22; AD: 116; AE: Y; AF: 18.9766; AI: 0.015859 | 91 | 91 | 151 | GVR 25 Lite
A: Solar direct drive refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 3043 SDD; D: PQS E003/045; E: SDR; F: R600a; G: Hot; H: Grade A; I: 89; N: 116; T: 6110; U: 7332; V: 2016; W: 278; Z: 91; AA: 127; AB: 78; AC: 1.07; AD: 169; AE: Y; AF: 82.382 | 92 | 92 | 152 | GVR 25 Lite DC |  |  |  | 92
A: icelined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 50 AC; D: PQS E003/046; E: ILR; F: R600a; G: Hot; H: Grade A; I: 46.5; N: 182; Q: 0.56; T: 1500; U: 1500; V: 2016; W: 57.7; Z: 122; AA: 75; AB: 79.5; AC: 0.916; AD: 125; AE: Y; AF: 32.2581; AI: 0.012043 | 93 | 93 | 153 | VLS 054A SDD Greenline
A: icelined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 100 AC; D: PQS E003/047; E: ILR; F: R600a; G: Hot; H: Grade A; I: 99; N: 300.3; Q: 0.75; T: 2300; U: 2300; V: 2016; W: 121; Z: 182; AA: 75; AB: 79.5; AC: 1.3; AD: 160; AE: Y; AF: 23.2323; AI: 0.0075758 | 94 | 94 | 154 | VLS 094A SDD Greenline
Solar direct drive refrigerator/freezer | Dulas | VC150SDD | PQS E003/048 | SDRF | R600a | Hot | Grade A | 102 |  |  | 2.04 | 8.4 | 77.99 | [5 empty] | 6800 | 8160 | 2016 | 158.1 | 42.9 |  | 73.5 | 99.2 | 128.3 | 1.2 | 171 | Y | 80 |  | 4000 | [6 empty] | 95 | 95 | 155 | VLS 154A SDD Greenline |  |  |  | 95
A: Solar direct drive refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 50 SDD; D: PQS E003/049; E: SDR; F: R600a; G: Hot; H: Grade A; I: 46.5; N: 134.8; T: 3450; U: 3450; V: 2016; W: 59.6; Z: 121.5; AA: 79.5; AB: 75; AC: 1.316; AD: 240; AE: Y; AF: 74.1935 | 96 | 96 | 156 | VLS 204A |  |  |  | 96
A: Solar direct drive refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 100 SDD; D: PQS E003/050; E: SDR; F: R600a; G: Hot; H: Grade A; I: 99; N: 175.95; T: 4815; U: 4815; V: 2016; W: 121; Z: 182; AA: 79.5; AB: 75; AC: 1.7; AD: 275; AE: Y; AF: 48.6364 | 97 | 97 | 157 | VLS 304A AC |  |  |  | 97
A: icelined refrigerator; B: Zero Appliances; C: ZLF30AC; D: PQS E003/051; E: ILR; F: R134a; G: Hot; H: Grade A; I: 27; N: 77.2; Q: 1.682; T: 1192; U: 1192; V: 2016; W: 30; Z: 102.8; AA: 61.9; AB: 56.3; AC: 0.372; AD: 65; AE: Y; AF: 44.1481; AI: 0.062296 | 98 | 98 | 158 | VLS 354A AC
A: Solar direct drive refrigerator; B: Zero Appliances; C: ZLF150DC; D: PQS E003/052; E: SDR; F: R134a; G: Hot; H: Grade A; I: 128; N: 107.9; T: 4355; U: 4355; V: 2016; W: 132; Z: 189; AA: 83; AB: 71; AC: 1.22; AD: 120; AE: Y; AF: 34.0234 | 99 | 99 | 159 | VLS 404A AC |  |  |  | 99
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 094 SDD Greenline; D: PQS E003/053; E: SDR; F: R600a; G: Hot; H: Grade A; I: 92; N: 72.5; P: 360; T: 3214; U: 3856.8; V: 2016; W: 151; Z: 86; AA: 93; AB: 70; AC: 0.83; AD: 108; AE: Y; AF: 41.9217 | 100 | 100 | 160 | VLS 504A AC |  |  |  | 100
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 154 SDD Greenline; D: PQS E003/054; E: SDR; F: R600a; G: Hot; H: Grade A; I: 170; N: 73.4; P: 360; T: 4053; U: 4863.6; V: 2016; W: 248; Z: 86; AA: 127; AB: 70; AC: 0.83; AD: 108; AE: Y; AF: 28.6094 | 101 | 101 | 161 | HBC-120 |  |  |  | 101
A: Solar direct drive refrigerator; B: Zero Appliances; C: ZLF30DC SDD; D: PQS E003/055; E: SDR; F: R600a; G: temp; H: Grade A; I: 27; N: 77.05; T: 2064; U: 2064; V: 2016; W: 33; Z: 102.5; AA: 56; AB: 60; AC: 0.372; AD: 65; AE: Y; AF: 76.4444 | 102 | 102 | 162 | HBC-240 |  |  |  | 102
A: Solar direct drive, ancillary battery refrigerator; B: Haier; C: HTC-60H; D: PQS E003/056; E: SDR; F: R600a; G: Hot; H: Not Tested; I: 21; N: 109.21; Q: 0.778; T: 2600; U: 2600; V: 2016; W: 60; Z: 78.8; AA: 65.4; AB: 87.5; AC: 0.7; AD: 110; AF: 123.8095; AI: 0.037048 | 103 | 103 | 163 | HTC-120 |  |  |  | 103
Solar battery powered combo refrigerator & freezer | Haier | HTCD-160 | PQS E003/057 | SBRF | R600a | Hot | Grade A | 100 |  |  | 2.08 | 17.7833 | 121.27 | [5 empty] | 6300 | 6300 | 2016 | 120 | 40 |  | 169.5 | 86.5 | 82.5 | 1.6 | 186 | Y | 63 |  | 3028.8462 | [6 empty] | 104 | 104 | 164 | HTC-240 |  |  |  | 104
A: Solar direct drive refrigerator; B: Dulas; C: Dulas VC 110 SDD; D: PQS E003/058; E: SDR; F: R600a; G: Hot; H: Grade A; I: 110; N: 78.09; T: 3400; U: 4080; V: 2016; W: 205; Z: 74; AA: 95.9; AB: 128.2; AC: 1.2; AD: 129; AE: Y; AF: 37.0909 | 105 | 105 | 165 | ARKTEK YBC-10 SDD |  |  |  | 105
A: Solar direct drive refrigerator; B: Dulas; C: Dulas VC88 SDD; D: PQS E003/059; E: SDR; F: R600a; G: Hot; H: Grade A; I: 88; N: 78.09; T: 4280; U: 5136; V: 2016; W: 205; Z: 74; AA: 95.9; AB: 128.2; AC: 1.2; AD: 129; AE: Y; AF: 58.3636 | 106 | 106 | 166 | VLS 076 SDD |  |  |  | 106
Vaccine/waterpacks freezer | AUCMA | DW-25W147 | PQS E003/060 | CF | R134a | Hot | N/A |  | 147 |  | 14.5 |  | 6.44 |  |  | 3.31 |  |  | 450 | 450 | 2016 |  | 147 |  | 79 | 88 | 59.5 | 0.41 | 45 | Y |  | 3.0612 | 31.0345 |  |  | 0.022517 |  | 0.22828 |  | 107 |  | 167 | VLS 174A AC | 107
Vaccine/waterpacks freezer | AUCMA | DW-25W300 | PQS E003/061 | CF | R134a | Hot | N/A |  | 240 |  | 38.3 |  | 58.36 |  |  | 3.37 |  |  | 540 | 540 | 2016 |  | 300 |  | 122.6 | 79 | 94.5 | 0.92 | 75 | Y |  | 2.25 | 14.0992 |  |  | 0.014042 |  | 0.08799 |  | 108 |  | 168 | TCW 80-SDD | 108
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 200A Greenline; D: PQS E003/062; E: ILR; F: R600a; G: Hot; H: Grade A; I: 60; N: 54; Q: 0.57; T: 669; U: 802.8; V: 2016; W: 113; Z: 85; AA: 73; AB: 70; AC: 0.58; AD: 70; AE: Y; AF: 13.38; AI: 0.0095 | 109 | 109 | 169 | IceVolt 300P
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 300A Greenline; D: PQS E003/063; E: ILR; F: R600a; G: Hot; H: Grade A; I: 98; N: 55.5; Q: 0.6; T: 882; U: 1058.4; V: 2016; W: 157; Z: 85; AA: 92; AB: 70; AC: 0.75; AD: 93; AE: Y; AF: 10.8; AI: 0.0061224 | 110 | 110 | 170 | TCW 120 AC
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 350A Greenline; D: PQS E003/064; E: ILR; F: R600a; G: Hot; H: Grade A; I: 127; N: 54.7; Q: 0.62; T: 924; U: 1108.8; V: 2016; W: 209; Z: 85; AA: 113; AB: 70; AC: 0.85; AD: 110; AE: Y; AF: 8.7307; AI: 0.0048819 | 111 | 111 | 171 | TCW 120 SDD
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 400A Greenline; D: PQS E003/065; E: ILR; F: R600a; G: Hot; H: Grade A; I: 145; N: 55; Q: 0.67; T: 1005; U: 1206; V: 2016; W: 235; Z: 86; AA: 127; AB: 70; AC: 1.02; AD: 126; AE: Y; AF: 8.3172; AI: 0.0046207 | 112 | 112
A: Icelined refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 4000 AC; D: PQS E003/066; E: ILR; F: R600a; G: Hot; H: Grade A; I: 240; N: 77.3; Q: 0.85; T: 3307; U: 3968.4; V: 2016; W: 149; Z: 91.5; AA: 162.5; AB: 78; AC: 0.88; AD: 174; AE: Y; AF: 16.535; AI: 0.0035417 | 113 | 113
A: Solar direct drive refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 15R SDD; D: PQS E003/067; E: SDR; F: R600a; G: Hot; H: Grade A; I: 16; N: 81.8; T: 4244; U: 5092.8; V: 2016; W: 26.5; Z: 95; AA: 73; AB: 73; AC: 0.65; AD: 85; AE: Y; AF: 318.3 | 114 | 114 | [5 empty] | 114
A: Solar direct drive refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 40R SDD; D: PQS E003/068; E: SDR; F: R600a; G: Hot; H: Grade A; I: 36; N: 81.54; P: 250; T: 4840; U: 5808; V: 2016; W: 46.6; Z: 90; AA: 78; AB: 103; AC: 0.88; AD: 120; AE: Y; AF: 161.3333 | 115 | 115 | [5 empty] | 115
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 024 SDD Greenline; D: PQS E003/069; E: SDR; F: R600a; G: Hot; H: Grade A; I: 25.5; N: 81.7; P: 360; T: 2585; U: 3102; V: 2016; W: 36; Z: 83; AA: 55.5; AB: 64.5; AC: 0.63; AD: 75; AE: Y; AF: 121.6471 | 116 | 116 | [5 empty] | 116
Combined icelined refrigerator/waterpacks freezer | Vestfrost | VLS 064 RF | PQS E003/070 | ILRF | R134a | Hot | Not Tested | 52.5 |  |  | 3.6 | 3.6 | 20.2 |  |  | 1.8 |  |  | 954 | 1144.8 | 2016 | 75 | 5.1 |  | 84.5 | 72.5 | 71 | 0.58 | 98 |  | 21.8057 |  | 318 | 0.034286 |  |  |  | 0.5 |  | 117 | 117
Waterpacks freezer | B Medical Systems Sarl (Dometic) | TFW 3000 AC | PQS E003/071 | WPF | R290 | Hot | N/A |  | 204 |  | 54 | 162 |  |  |  | 2.15 |  |  | 2789 | 3346.8 | 2016 |  | 204 |  | 91 | 127 | 78 | 1.07 | 126 | Y |  | 16.4059 | 61.9778 |  |  | 0.010539 |  | 0.039815 |  | 118 |  |  |  | 118
A: Icelined refrigerator; B: Dulas; C: VC 225 ILR; D: PQS E003/072; E: ILR; F: R600a; G: Hot; H: Grade A; I: 184.5; N: 94; Q: 0.803; T: 2600; U: 2600; V: 2016; W: 203.2; Z: 98.6; AA: 128.7; AB: 78; AC: 1.29; AD: 172; AE: Y; AF: 14.0921; AI: 0.0043523 | 119 | 119
Solar Direct drive freezer | B Medical Systems Sarl (Dometic) | TFW 40 SDD | PQS E003/073 | SDF | R600a | Hot | N/A |  | 64 |  | 2.16 | 20 | 120 | [5 empty] | 5279 | 5279 | 2016 |  | 64 |  | 90 | 103 | 78 | 0.88 | 119 | Y |  | 82.4844 | 2443.9815 | [6 empty] | 120 |  |  |  | 120 | [5 empty] | 120
Solar Direct drive combined refrigerator/freezer | Haier | HTCD 90 SDD | PQS E003/074 | SDRF | R600a | Hot | Grade A | 37.5 | 12 |  | 2.08 | 12 | 114.9 | [5 empty] | 4500 | 4500 | 2016 | 37.5 | 32 |  | 112 | 65.4 | 87.5 | 0.98 | 108 | Y | 120 | 375 | 2163.4615 | [6 empty] | 121 | 121 | [5 empty] | 121
A: Solar Direct drive refrigerator; B: Haier; C: HTC 40 SDD; D: PQS E003/075; E: SDR; F: R600a; G: Hot; H: Grade A; I: 22.5; N: 117; T: 2700; U: 2700; V: 2016; W: 40; Z: 78.8; AA: 65; AB: 87.5; AC: 0.7; AD: 75; AE: Y; AF: 120 | 122 | 122 | [5 empty] | 122
A: Solar Direct drive refrigerator; B: Haier; C: HTC 110 SDD; D: PQS E003/076; E: SDR; F: R600a; G: Hot; H: Grade A; I: 59; N: 96; T: 3000; U: 3000; V: 2016; W: 110; Z: 78.8; AA: 65.4; AB: 112.8; AC: 0.98; AD: 94; AE: Y; AF: 50.8475 | 123 | 123 | [5 empty] | 123
Solar direct drive combined refrigerator/freezer | B Medical Systems Sarl (Dometic) | TCW 15 SDD | PQS E003/077 | SDRF | R600a | Hot | Grade A | 16 | 2.4 |  | 1.97 | 2.4 | 84 | [5 empty] | 4277 | 5132.4 | 2016 | 26.5 | 2.4 |  | 95 | 73 | 73 | 0.65 | 87 | Y | 320.775 | 2138.5 | 2605.2792 | [6 empty] | 124 | 124 | [5 empty] | 124
A: Solar direct drive refrigerator; B: Dulas; C: VC50 SDD; D: PQS E003/078; E: SDR; F: R600a; G: Hot; H: Grade A; I: 52.5; N: 74.15; T: 2750; U: 3300; V: 2016; W: 82; Z: 96; AA: 100; AB: 74; AC: 1.02; AD: 129; AE: Y; AF: 62.8571 | 125 | 125 | [5 empty] | 125
A: Icelined refrigerator; B: AUCMA; C: CFD-50; D: PQS E003/079; E: ILR; F: R134a; G: Hot; H: Grade A; I: 50; N: 135; Q: 0.77; T: 1400; U: 1400; V: 2016; W: 68; Z: 158.8; AA: 54.5; AB: 65.5; AC: 0.77; AD: 100; AE: Y; AF: 28; AI: 0.0154 | 126 | 126
A: Ice-lined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 51 LITE AC; D: PQS E003/080; E: ILR; F: R600a; G: Hot; H: Grade A; I: 51; N: 89.43; Q: 2.04; T: 900; U: 900; V: 2016; W: 69; Z: 151.5; AA: 73.5; AB: 62; AC: 0.86; AD: 115; AE: Y; AF: 17.6471; AI: 0.04 | 127 | 127
A: Ice-lined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 75 Lite; D: PQS E003/081; E: ILR; F: R600a; G: Hot; H: Grade A; I: 72.5; N: 81; Q: 2.77; T: 972; U: 972; V: 2016; W: 99; Z: 151; AA: 73.5; AB: 62; AC: 0.86; AD: 115; AE: Y; AF: 13.4069; AI: 0.038207 | 128 | 128
A: Ice-lined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 99 Lite; D: PQS E003/082; E: ILR; F: R600a; G: Hot; H: Grade A; I: 98.5; N: 59.34; Q: 1.73; T: 1050; U: 1050; V: 2016; W: 124; Z: 170; AA: 73.5; AB: 62; AC: 0.95; AD: 125; AE: Y; AF: 10.6599; AI: 0.017563 | 129 | 129
A: Ice-lined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 225 AC; D: PQS E003/083; E: ILR; F: R600a; G: Hot; H: Grade A; I: 225; N: 55; Q: 2.38; T: 1800; U: 1800; V: 2016; W: 278; Z: 182; AA: 79.5; AB: 75; AC: 1.3; AD: 160; AE: Y; AF: 8; AI: 0.010578 | 130 | 130
Solar direct drive combined refrigerator/freezer | Dulas | VC 60 SDD-1 | PQS E003/084 | SDRF | R600a | Hot | Grade A | 57 | 24 |  | 2.4 | 13.8 | 82.48 | [5 empty] | 4750 | 5700 | 2016 | 124 |  |  | 95.9 | 128 | 74 | 1.2 | 170 | Y | 100 | 237.5 | 2375 | [6 empty] | 131 | 131 | [5 empty] | 131
A: Solar direct drive refrigerator; B: Dulas; C: VC 30 SDD; D: PQS E003/085; E: SDR; F: R600a; G: Hot; H: Grade A; I: 25.5; N: 72.09; T: 2500; U: 3000; V: 2017; W: 39; Z: 98.7; AA: 89; AB: 75.5; AC: 1.02; AD: 129; AE: Y; AF: 117.6471 | 132 | 132 | [5 empty] | 132
Solar direct drive freezer | Haier | HTD-40 | PQS E003/086 | SDF | R600a | Hot | N/A |  | 48 |  | 2.4 | 20 | 120 | [5 empty] | 2900 | 2900 | 2017 |  | 48 |  | 78.8 | 65.4 | 87.5 | 0.7 | 65 | Y |  | 60.4167 | 1208.3333 | [6 empty] | 133 |  |  |  | 133 | [5 empty] | 133
A: Ice-lined refrigerator; B: Haier; C: HBC-260; D: PQS E003/087; E: ILR; F: R600a; G: Hot; H: Grade A; I: 211; N: 34.4; Q: 1.62; T: 1050; U: 1050; V: 2017; W: 260; Z: 165; AA: 65.4; AB: 78.8; AC: 0.91; AD: 132; AE: Y; AF: 4.9763; AI: 0.0076777 | 134 | 134
A: Ice-lined refrigerator; B: Haier; C: HBC-150; D: PQS E003/088; E: ILR; F: R600a; G: Hot; H: Grade A; I: 122; N: 30.16; Q: 0.61; T: 900; U: 900; V: 2017; W: 150; Z: 112.8; AA: 65.4; AB: 78.8; AC: 0.61; AD: 85; AE: Y; AF: 7.377; AI: 0.005 | 135 | 135
A: Ice-lined refrigerator; B: Haier; C: HBC-80; D: PQS E003/089; E: ILR; F: R600a; G: Hot; H: Grade A; I: 61; N: 31.5; Q: 0.63; T: 720; U: 720; V: 2017; W: 80; Z: 87.5; AA: 65.4; AB: 78.8; AC: 0.45; AD: 75; AE: Y; AF: 11.8033; AI: 0.010328 | 136 | 136
A: Solar direct drive refrigerator; B: B Medical Systems Sarl (Dometic); C: Ultra 16 SDD; D: PQS E003/090; E: SDR; F: R600a; G: Hot; H: Grade A; I: 16; N: 477.56; T: 5898; U: 7077.6; V: 2017; W: 24.5; Z: 113; AA: 85; AB: 78; AC: 1.04; AD: 200; AE: Y; AF: 442.35 | 137 | 137 | [5 empty] | 137
Solar direct drive refrigerator and freezer | Vestfrost Solutions | VLS 026 RF Green Line | PQS E003/091 | SDRF | R600a | Hot | Grade A | 20 | 34.3 |  | 1.8 | 17.4 | 72.22 | [5 empty] | 4550 | 5460 | 2017 | 35 |  |  | 88 | 111 | 65 | 0.92 | 141 | Y | 273 | 159.1837 | 3033.3333 | [6 empty] | 138 | 138 | [5 empty] | 138
Solar direct drive refrigerator and freezer | Vestfrost Solutions | VLS 056 RF SDD | PQS E003/092 | SDRF | R600a | Hot | Grade A | 36 | 34.3 |  | 1.8 | 17.4 | 72 | [5 empty] | 4835 | 5802 | 2017 | 49.3 |  |  | 88 | 111 | 65 | 0.92 | 141 | Y | 161.1667 | 169.1545 | 3223.3333 | [6 empty] | 139 | 139 | [5 empty] | 139
A: Solar direct drive refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 4000 SDD; D: PQS E003/093; E: SDR; F: R600a; G: Hot; H: Grade A; I: 220; N: 91.16; T: 6138; U: 7365.6; V: 2018; W: 250; Z: 91.5; AA: 162.5; AB: 78; AC: 1.36; AD: 192; AE: Y; AF: 33.48 | 140 | 140 | [5 empty] | 140
A: Ice-lined refrigerator; B: Vestfrost Solutions; C: VLS 500A AC; D: PQS E003/094; E: ILR; F: R600a; G: Hot; H: Grade A; I: 242; N: 55.27; Q: 0.638; V: 2018; W: 314; Z: 84.5; AA: 156.3; AB: 70; AC: 1.16; AD: 150; AE: Y; AF: 0; AI: 0.0026364 | 141 | 141
Solar direct drive refrigerator or freezer | Godrej & Boyce MFG. Co. Ltd. | GVR 55 FF DC | PQS E003/095 | SDRF | R290 | Hot | Grade A | 58 | 44 |  |  | 14.4 | 283.3 | [5 empty] | 5995 | 5995 | 2018 | 90 |  |  | 183 | 79.5 | 75 | 1.73 | 380 | Y | 103.3621 | 136.25 | [7 empty] | 142 | 142 | [5 empty] | 142
A: Ice-lined refrigerator; B: Zero Appliances; C: ZLF80AC; D: PQS E003/096; E: ILR; F: R134a; G: Hot; H: Grade A; I: 77; N: 105.17; Q: 1.4; T: 1566; U: 1566; V: 2018; W: 94; Z: 167; AA: 85; AB: 71; AC: 1.132; AD: 142; AE: Y; AF: 20.3377; AI: 0.018182 | 143 | 143
Combined icelined refrigerator/waterpacks freezer | Haier | HBCD-90 | PQS E003/097 | ILRF | R600a | Hot | Grade A | 30 | 32 |  | 4 | 32 | 63.48 |  |  | 0.97 |  |  | 1500 | 1500 | 2018 | 42 | 32 |  | 112.8 | 87.5 | 65.4 | 0.98 | 118 | Y | 50 | 46.875 | 375 | 0.032333 |  | 0.030312 |  | 0.2425 |  | 144 | 144
A: Solar direct drive refrigerator; B: AUCMA; C: CFD-50 SDD; D: PQS E003/098; E: SDR; F: R600a; G: Hot; H: Grade A; I: 50; N: 120; T: 3200; U: 3200; W: 68; Z: 158.8; AA: 65.5; AB: 54.5; AC: 0.78; AD: 95; AE: Y; AF: 64 | 145 | 145 | [5 empty] | 145
A: Solar direct drive freezer; B: Vestfrost; C: VFS 048 SDD; D: PQS E003/099; E: SDR; F: R600a; G: Hot; H: N/A; J: 17.4; L: 1.6; M: 17.4; T: 2635; U: 3162; V: 2018; W: 34.3; Z: 85; AA: 55.5; AB: 65; AC: 1.42; AD: 167; AE: Y; AG: 181.7241; AH: 1976.25 | 146 |  |  |  | 146 | [5 empty] | 146
A: Icelined refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 40R AC; D: PQS E003/100; E: ILR; F: R600a; G: Hot; H: Grade A; I: 36.5; N: 121.54; Q: 0.8; T: 2770; U: 3324; V: 2019; W: 45; Z: 103; AA: 78; AB: 90; AC: 0.88; AD: 128; AE: Y; AF: 91.0685; AI: 0.021918 | 147 | 147
A: Icelined refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 80 AC; D: PQS E003/101; E: ILR; F: R600a; G: Hot; H: Grade A; I: 80.5; N: 72.09; Q: 1.16; T: 2992; U: 3590.4; V: 2019; W: 82.5; Z: 103; AA: 78; AB: 90; AC: 0.88; AD: 128; AE: Y; AF: 44.6012; AI: 0.01441 | 148 | 148
A: Solar direct drive refrigerator; B: Haier; C: HTC-112; D: PQS E003/102; E: SDR; F: R600a; G: Hot; H: Grade A; I: 75; N: 92.48; T: 3150; U: 3150; V: 2019; W: 112; Z: 112.8; AA: 65.4; AB: 87.5; AE: Y; AF: 42 | 149 | 149 | [5 empty] | 149
Combined icelined refrigerator/waterpacks freezer | Godrej & Boyce MFG. Co. Ltd. | GVR 55 FF AC | PQS E003/103 | ILRF | R600a | Hot | Grade A | 58 | 14.4 |  | 2.4 | 14.4 | 113.37 |  |  | 1.91 |  |  | 1500 | 1500 | 2019 | 90 | 44 |  | 1820 | 795 | 750 | 1.37 | 180 | Y | 25.8621 | 104.1667 | 625 | 0.032931 |  | 0.13264 |  | 0.79583 |  | 150 | 150
A: Combined icelined refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 25 Lite; D: PQS E003/104; E: ILR; F: R600a; G: Hot; H: Grade A; I: 27.5; N: 53; Q: 0.91; T: 800; U: 800; V: 2019; W: 41; Z: 1097; AA: 618; AB: 774; AC: 0.7; AD: 95; AE: Y; AF: 29.0909; AI: 0.033091 | 151 | 151
A: Solar direct drive refrigerator; B: Godrej & Boyce MFG. Co. Ltd.; C: GVR 25 Lite DC; D: PQS E003/105; E: SDR; F: R600a; G: Hot; H: Grade A; I: 27.5; N: 95.5; T: 2562; U: 2562; V: 2019; W: 41; Z: 774; AA: 818; AB: 1097; AC: 1.06; AD: 190; AE: Y; AF: 93.1636 | 152 | 152 | [5 empty] | 152
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 054A SDD Greenline; D: PQS E003/106; E: SDR; F: R600a; G: Hot; H: Grade A; I: 55.5; N: 72.4; T: 2924; U: 3508.8; V: 2019; W: 108; Z: 85; AA: 72; AB: 60; AC: 0.65; AD: 85; AE: Y; AF: 63.2216 | 153 | 153 | [5 empty] | 153
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 094A SDD Greenline; D: PQS E003/107; E: SDR; F: R600a; G: Hot; H: Grade A; I: 92; N: 72.5; T: 3264; U: 3916.8; V: 2019; W: 151; Z: 86; AA: 93; AB: 70; AC: 0.83; AD: 108; AE: Y; AF: 42.5739 | 154 | 154 | [5 empty] | 154
A: Solar direct drive refrigerator; B: Vestfrost Solutions; C: VLS 154A SDD Greenline; D: PQS E003/108; E: SDR; F: R600a; G: Hot; H: Grade A; I: 170; N: 73.4; T: 4103; U: 4923.6; V: 2019; W: 248; Z: 86; AA: 127; AB: 70; AC: 0.83; AD: 108; AE: Y; AF: 28.9624 | 155 | 155 | [5 empty] | 155
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 204A; D: PQS E003/109; E: ILR; F: R600a; G: Hot; H: Grade A; I: 60; N: 54; Q: 0.58; T: 709; U: 850.8; V: 2019; W: 113; Z: 85; AA: 73; AB: 70; AC: 0.58; AD: 70; AE: Y; AF: 14.18; AI: 0.0096667 | 156 | 156
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 304A AC; D: PQS E003/110; E: ILR; F: R600a; G: Hot; H: Grade A; I: 98; N: 55.5; Q: 0.69; T: 862; U: 1034.4; V: 2019; W: 157; Z: 85; AA: 92; AB: 70; AC: 0.75; AD: 93; AE: Y; AF: 10.5551; AI: 0.0070408 | 157 | 157
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 354A AC; D: PQS E003/111; E: ILR; F: R600a; G: Hot; H: Grade A; I: 127; N: 54.7; Q: 0.64; T: 964; U: 1156.8; V: 2019; W: 209; Z: 85; AA: 113; AB: 70; AC: 0.85; AD: 110; AE: Y; AF: 9.1087; AI: 0.0050394 | 158 | 158
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 404A AC; D: PQS E003/112; E: ILR; F: R600a; G: Hot; H: Grade A; I: 145; N: 55; Q: 0.69; T: 1045; U: 1254; V: 2019; W: 235; Z: 86; AA: 127; AB: 70; AC: 1.02; AD: 126; AE: Y; AF: 8.6483; AI: 0.0047586 | 159 | 159
A: Icelined refrigerator; B: Vestfrost Solutions; C: VLS 504A AC; D: PQS E003/113; E: ILR; F: R600a; G: Hot; H: Grade A; I: 242; N: 55.27; Q: 0.638; T: 1825; U: 2190; V: 2019; W: 314; Z: 84.5; AA: 156.3; AB: 70; AC: 1.16; AD: 150; AE: Y; AF: 9.0496; AI: 0.0026364 | 160 | 160
A: Icelined refrigerator; B: Haier; C: HBC-120; D: PQS E003/114; E: ILR; F: R600a; G: Hot; H: Grade A; I: 100; N: 128.48; Q: 0.35; T: 1700; U: 1700; V: 2020; W: 120; Z: 89; AA: 82.9; AB: 142.5; AC: 1.44; AD: 160; AE: Y; AF: 17; AI: 0.0035 | 161 | 161
A: Icelined refrigerator; B: Haier; C: HBC-240; D: PQS E003/115; E: ILR; F: R600a; G: Hot; H: Grade A; I: 200; N: 87.14; Q: 0.4; T: 1850; U: 1850; V: 2020; W: 240; Z: 89; AA: 82.9; AB: 142.5; AC: 1.8; AD: 182; AE: Y; AF: 9.25; AI: 0.002 | 162 | 162
A: Solar Direct Drive Refrigerator; B: Haier; C: HTC-120; D: PQS E003/116; E: SDR; F: R600a; G: Hot; H: Grade A; I: 100; N: 112.24; T: 3620; U: 3620; V: 2020; W: 120; Z: 86.5; AA: 82.5; AB: 142.5; AC: 1.44; AD: 160; AE: Y; AF: 36.2 | 163 | 163 | [5 empty] | 163
A: Solar Direct Drive Refrigerator; B: Haier; C: HTC-240; D: PQS E003/117; E: SDR; F: R600a; G: Hot; H: Grade A; I: 200; N: 95.23; T: 4150; U: 4150; V: 2020; W: 240; Z: 86.5; AA: 82.5; AB: 181.5; AC: 1.79; AD: 185; AE: Y; AF: 20.75 | 164 | 164 | [5 empty] | 164
A: Solar Direct Drive Refrigerator; B: AUCMA; C: ARKTEK YBC-10 SDD; D: PQS E003/118; E: SDR; F: R600a; G: Hot; H: Grade A; I: 10; N: 72; T: 3550; U: 3550; V: 2020; W: 15; Z: 86; AA: 52.8; AB: 52.8; AE: Y; AF: 355 | 165 | 165 | [5 empty] | 165
Solar direct drive combined refrigerator/freezer | Vestfrost Solutions | VLS 076 SDD | PQS E003/119 | SDRF | R290 | Hot | Grade A | 61.25 | 17.4 |  | 1.8 | 17.4 | 89.32 | [5 empty] | 5177 | 6212.4 | 2021 | 111 | 34.3 |  | 96 | 65 | 128 | 1.15 | 157 | Y | 101.4269 | 357.0345 | 3451.3333 | [6 empty] | 166 | 166 | [5 empty] | 166
A: Icelined refrigerator; B: Vestfrost; C: VLS 174A AC; D: PQS E003/120; E: IRL; F: R600a; G: Hot; H: Grade A; I: 38; N: 50.52; Q: 0.504; W: 50.6; Z: 95; AA: 65; AB: 55; AC: 0.63; AD: 79; AE: Y; AF: 0; AI: 0.013263 | 167 | 167
A: Solar Direct Drive Refrigerator; B: B Medical Systems Sarl (Dometic); C: TCW 80-SDD; D: PQS E003/121; E: SDR; F: R600a; G: Hot; H: Grade A; I: 80.5; N: 72.22; T: 5437; U: 6524.4; V: 2021; W: 82.5; Z: 90; AA: 103; AB: 78; AC: 0.88; AD: 113; AE: Y; AF: 81.0484 | 168 | 168 | [5 empty] | 168
A: Icelined refrigerator; B: Coolfinity Medical B.V.; C: IceVolt 300P; D: PQS E003/122; E: ILR; F: #R290; G: Hot; H: Grade A; I: 241; N: 20.48; Q: 2.39; T: 2250; U: 2700; V: 2021; W: 328; Z: 199.9; AA: 67; AB: 73; AC: 1.09; AD: 174; AE: Y; AF: 11.2033; AI: 0.009917 | 169 | 169
Vaccine/waterpacks freezer | B Medical Systems Sarl (Dometic) | TCW 120 AC | PQS E003/123 | ILRF | R600a | Hot | Grade A | 120 | 13.2 |  | 1.6 | 13.2 | 72 |  |  | 1.6 |  |  |  |  | 2021 | 120 | 13.2 |  | 91.5 | 16.25 | 78 | 1.39 | 192 | Y | 0 | 0 | 0 | 0.013333 |  | 0.12121 |  | 1 |  | 170 | 170
Solar direct drive combined refrigerator/freeze | B Medical Systems Sarl (Dometic) | TCW 120 SDD | PQS E003/124 | ILRF | R600a | Hot | Grade A | 120 | 25 |  | 1.6 | 13.2 | 72 | [7 empty] | 2021 | 120 | 13.2 |  | 91.5 | 16.25 | 78 | 1.39 | 192 | Y | 0 | 0 | 0 | [6 empty] | 171 | 171
A: Vaccine Freezer - Ultralow Temperature Storage; B: B Medical Systems Sarl (Dometic); C: U201; D: PQS E003/125; E: ULTF; F: #rR290; G: Hot; H: NA; K: 214; L: 1.6; M: 13.2; N: 72; V: 2022; Y: 214; Z: 129.3; AA: 69.9; AB: 103.9; AC: 1.2; AD: 252; AE: Y; AH: 0 | 172 | [12 empty] | 172
A: Vaccine freezer; B: Haier; C: HBD-86; D: PQS E003/126; E: CF; F: R600a; G: Hot; H: NA; J: 61; Q: 0.98; T: 1065; U: 1065; V: 2022; X: 86; Z: 788; AA: 717; AB: 872; AC: 0.71; AD: 90; AE: Y; AG: 17.459; AK: 0.016066 | 173 |  |  |  | 173
Vaccine/waterpacks freezer | Western Refrigeration | VFW140H-HC | PQS E003/127 | CF | #R290 | Hot | NA |  | 68 |  | 16.2 | 72.5 |  |  |  | 2.06 |  |  | 635 | 635 | 2022 |  | 142 |  | 955 | 710 | 720 | 0.6 | 60 | Y |  | 9.3382 | 39.1975 |  |  | 0.030294 |  | 0.12716 |  | 174 |  |  |  | 174
Vaccine/waterpacks freezer | Western Refrigeration | VFW310H-HC | PQS E003/128 | CF | #R290 | Hot | NA |  | 166 |  | 28.2 | 203 |  |  |  | 2.32 |  |  | 775 | 775 | 2022 |  | 317 |  | 965 | 1230 | 720 | 1.03 | 91 | Y |  | 4.6687 | 27.4823 |  |  | 0.013976 |  | 0.08227 |  | 175 |  |  |  | 175
A: Non Refrigerator; B: Non Refrigerator; C: Non-PQS ILR-36; D: Non-PQS ILR-36; E: ILR; F: R600a; G: Hot; H: NA; I: 36; AF: 0 | 176
A: Non Refrigerator; B: Non Refrigerator; C: Non-PQS ILR-70; D: Non-PQS ILR-70; E: ILR; F: R600a; G: Hot; H: NA; I: 70; AF: 0 | 177
A: Non Refrigerator; B: Non Refrigerator; C: Non-PQS ILR-100; D: Non-PQS ILR-100; E: ILR; F: R600a; G: Hot; H: NA; I: 100; AF: 0 | 178
A: Non Refrigerator; B: Non Refrigerator; C: Non-PQS ILR-150; D: Non-PQS ILR-150; E: ILR; F: R600a; G: Hot; H: NA; I: 150; AF: 0 | 179
A: Non Refrigerator; B: Non Refrigerator; C: Non-PQS ILR-200; D: Non-PQS ILR-200; E: ILR; F: R600a; G: Hot; H: NA; I: 200; AF: 0 | 180

## PQS_PIS_004
Passive container database |  |  |  | No user action required | [10 empty] | Index | [5 empty] | Index
Sources: WHO/UNICEF Product Information Sheets, WHO/V&B/00.12 and PQS catalogue dated August 2011 | [8 empty] | Nbr of products listed: | 51
| Equipment identification |  |  |  | Vaccine storage | Weight (kg) |  | External dimensions (cm) |  |  | Vaccine storage dimensions |  |  | Water-packs required |  | Cold life | Warm life | Cool life | Price | External volume (litres) | Bulking factor |  |  | 0.48558
PIS/PQS | Type | Make | Model | Type ref | capacity (l) | loaded | empty | W | D | H | W | D | H | Type | Number | @+43°C | @-20°C | @+43°C | FOB ($) |  | (Ext vol/ vax capacity)
Code
PIS E4/09 | Large vaccine cold box | Ina ColdMed | CB/INO/B3/90 | CB_large | 16.2 | 31.8 | 16.3 | 54 | 54 | 57 | 25 | 25 | 26 | 0.4 | 12 | 107 | no data | no data | 296 | 166.212 | 10.26 | 18.2716 | 0.16621 | 1.35
PIS E4/10 | small vaccine cold box | Ina ColdMed | CB/INO/C2/90 | CB_small | 6.5 | 20.6 | 12.5 | 47 | 47 | 50 | 18 | 18 | 20 | 0.4 | 8 | 81 | no data | no data | 190 | 110.45 | 16.9923 | 29.2308 | 0.11045 | 0.8125
PIS E4/18-M | Large vaccine carrier | Thermos | 3504 UN/CF | VC_large | 1.7 | 5.1 | 2.5 | 24 | 24 | 33 | 10 | 10 | 18 | 0.3 | 4 | 34 | no data | no data | 19.73 | 19.008 | 11.1812 | 11.6059 | 0.019008 | 0.425
PIS E4/19 | Large vaccine carrier | Polyfoam Packers | EPI/PF/1.5 | VC_large | 1.4 | 4.5 | 2.4 | 25 | 25 | 26 | 16 | 16 | 18 | 0.3 | 4 | 37 | no data | no data | 21 | 16.25 | 11.6071 | 15 | 0.01625 | 0.35
PIS E4/20 | small vaccine cold box | Ina ColdMed | CB/INO/D1/90 | CB_small | 4 | 13.5 | 7.2 | 39 | 39 | 41 | 16 | 16 | 16 | 0.4 | 6 | 83 | no data | no data | 138 | 62.361 | 15.5902 | 34.5 | 0.062361 | 0.66667
PIS E4/22 | small vaccine cold box | Oyster International | --- | CB_small | 9.75 | 32.9 | 17.6 | 56 | 61 | 49 | 25 | 30 | 13 | 0.4 | 24 | 119 | no data | no data | 175 | 167.384 | 17.1676 | 17.9487 | 0.16738 | 0.40625
PIS E4/34 | Large vaccine carrier | Beijing | IA | VC_large | 1.3 | 4.5 | 2.5 | 26 | 25 | 27 | 16 | 9 | 9 | 0.4 | 4 | 34 | no data | no data | 11 | 17.55 | 13.5 | 8.4615 | 0.01755 | 0.325
PIS E4/37-M | Large vaccine cold box | Savopak Oy | KR 48 | CB_large | 20.9 | 50 | 28 | 75 | 59 | 51 | 43 | 27 | 18 | 0.6 | 24 | 121 | no data | no data | 202.55 | 225.675 | 10.7978 | 9.6914 | 0.22567 | 0.87083
PIS E4/52-M | Large vaccine carrier | Gio Style Spa | --- | VC_large | 2.6 | 6.5 | 1.8 | 32 | 27 | 25 | 15 | 15 | 12 | 0.4 | 8 | 32 | no data | no data | 26.42 | 21.6 | 8.3077 | 10.1615 | 0.0216 | 0.325
PIS E4/53-M | Small vaccine carrier | Electrolux | RCW 2/CF | VC_small | 0.6 | 2.1 | 1.2 | 25 | 15 | 21 | 18 | 5 | 7 | 0.3 | 2 | 32 | no data | no data | 37.27 | 7.875 | 13.125 | 62.1167 | 0.007875 | 0.3
PIS E4/55-M | Small vaccine carrier | True Pack | T.P.001 | VC_small | 0.76 | 1.91 | 0.54 | 29 | 21 | 25 | 9 | 5 | 17 | 0.3 | 3 | 21 | no data | no data | 19.95 | 15.225 | 20.0329 | 26.25 | 0.015225 | 0.25333
PIS E4/57-M | small vaccine cold box | Blow Kings | 55-CF | CB_small | 8.6 | 21.7 | 8.2 | 49 | 42 | 41 | 27 | 22 | 16 | 0,3 & 0,4 | 24 | 65 | no data | no data | 90 | 84.378 | 9.8114 | 10.4651 | 0.084378 | 0.35833
PIS E4/67 | Small vaccine carrier | Inalsa | IVC-3 | VC_small | 1.6 | 3.8 | 1.9 | 25 | 25 | 26 | 10 | 10 | 16 | 0.3 | 4 | 37 | no data | no data | 11.95 | 16.25 | 10.1562 | 7.4687 | 0.01625 | 0.4
PIS E4/67-M | Large vaccine carrier | Apex Continental | IVC-9AF | VC_large | 1.6 | 4.3 | 1.9 | 25 | 25 | 29 | 10 | 10 | 16 | 0,3& 0,4&0,6 | 4 | 36 | no data | no data | 13.4 | 18.125 | 11.3281 | 8.375 | 0.018125 | 0.4
PIS E4/68-M | Small vaccine carrier | Apex Continental | IVC-8F | VC_small | 0.85 | 2.2 | 1.3 | 25 | 18 | 21 | 17 | 10 | 5 | 0.3 | 2 | 18.5 | no data | no data | 10.6 | 9.45 | 11.1176 | 12.4706 | 0.00945 | 0.425
PIS E4/70-M | small vaccine cold box | Electrolux | RCW 6/CF | CB_small | 4.4 | 19.05 | 10.75 | 33 | 89 | 31 | 16 | 46 | 6 | 0.3 | 19 | 65 | no data | no data | 198.77 | 91.047 | 20.6925 | 45.175 | 0.091047 | 0.23158
PIS E4/72-M | Large vaccine cold box | Apex Continental | ICB-11F | CB_large | 23.1 | 48.9 | 18.9 | 77 | 62 | 52 | 45 | 30 | 18 | 0,3& 0,4&0,6 | 50 | 100 | no data | no data | 183 | 248.248 | 10.7467 | 7.9221 | 0.24825 | 0.462
PIS E4/75-M | small vaccine cold box | Apex Continental | ICB-8F | CB_small | 5 | 25 | 11.8 | 79 | 41 | 43 | 50 | 10 | 10 | 0.3 | 26 | 98 | no data | no data | 102 | 139.277 | 27.8554 | 20.4 | 0.13928 | 0.19231
PIS E4/76-M | Large vaccine cold box | Blow Kings | CB/20/5U-CF | CB_large | 20 | 49 | 20.7 | 78 | 54 | 55 | 46 | 23 | 19 | 0,3 & 0,4 | 52 | 145 | no data | no data | 150 | 231.66 | 11.583 | 7.5 | 0.23166 | 0.38462
PIS E4/77-M | Large vaccine carrier | Blow Kings | VC/42/MOD/2/CF | VC_large | 1.5 | 3.7 | 1.8 | 25 | 25 | 28 | 9 | 9 | 17 | 0.3 | 4 | 36 | no data | no data | 12.5 | 17.5 | 11.6667 | 8.3333 | 0.0175 | 0.375
PIS E4/78-M | small vaccine cold box | Blow Kings | CB/5/2A/CF | CB_small | 7.2 | 26.8 | 14.8 | 82 | 36 | 38 | 50 | 12 | 12 | 0,3 & 0,4 | 26 | 98 | no data | no data | 120 | 112.176 | 15.58 | 16.6667 | 0.11218 | 0.27692
PIS E4/79 | Small vaccine carrier | Promociones LISA |  | VC_small | 0.7 | 2.88 | 1.44 | 28 | 21 | 25 | 12 | 7 | 8 | Losani 0,125 l | 8 | 27 | no data | no data | 18.5 | 14.7 | 21 | 26.4286 | 0.0147 | 0.0875
PIS E4/80-M | Small vaccine cold box | Polyfoam Packers | 390 | CB_small | 9.2 | 21.6 | 6.88 | 54 | 38 | 35 | 32 | 18 | 16 | 0.4 | 27 | 52 | no data | no data |  | 71.82 | 7.8065 | 0 | 0.07182 | 0.34074
PIS E4/81-M | Large vaccine carrier | Nylex Packaging | CFC free | VC_large | 1.4 | 5.3 | 2.4 | 37 | 25 | 35 | 12 | 6 | 20 | 0.6 | 4 | 53 | no data | no data | 46.31 | 32.375 | 23.125 | 33.0786 | 0.032375 | 0.35
PIS E4/83-M | Large vaccine carrier | Blow Kings | BK-VC 1.6 - CF | VC_large | 1.7 | 4.5 | 1.8 | 27 | 26 | 28 | 10 | 10 | 17 | 0,3 & 0,4 | 4 | 36 | no data | no data | 12.5 | 19.656 | 11.5624 | 7.3529 | 0.019656 | 0.425
PIS E4/84-M | Vaccine carrier for NID | CIP Industries | Frigivac for kick Polio |  | 1.7 | 2.34 | 0.42 | 25.5 | 15.7 | 26.1 | 12.5 | 9 | 16.5 | 0.3 | 3 | 5.5 | no data | no data | 3 | 10.4491 | 6.1466 | 1.7647 | 0.010449 | 0.56667
PIS E4/86-M | Large vaccine cold box | Apex Continental | ICB-14F | CB_large | 15 | 33.3 | 11.2 | 72 | 43 | 40 | 49 | 20 | 16 | 0,4 & 0,6 | 22 | 61 | no data | no data | 125 | 123.84 | 8.256 | 8.3333 | 0.12384 | 0.68182
PIS E4/88-M | Large vaccine carrier | Blow Kings | CB/10 - CF | VC_large | 10 | 33.8 | 17.5 | 57 | 56 | 53 | 25 | 20 | 20 | 0.6 | 17 | 95 | no data | no data | 12.8 | 169.176 | 16.9176 | 1.28 | 0.16918 | 0.58824
PIS E4/89-M | Small vaccine carrier | AOV International | AVC-24 | VC_small | 0.86 | 2 | 1 | 18.5 | 21 | 14.5 | 5.3 | 16.8 | 9.8 | 0.4 | 2 | 14 | no data | no data | 3.6 | 5.6333 | 6.5503 | 4.186 | 0.0056333 | 0.43
PIS E4/94-M | Large vaccine carrier | Termo-Kont | TM8 | VC_large | 3 | 6.1 | 1.6 | 30 | 39 | 26 | 17 | 20 | 9 |  | 6 | 36 | 20 | no data | 36.92 | 30.42 | 10.14 | 12.3067 | 0.03042 | 0.5
PIS E4/95-M | Large vaccine cold box | Termo-Kont | TM35 | CB_large | 18.8 | 16.6 | 4.32 | 51 | 52 | 37 | 38 | 31 | 16 |  | 22 | 63.2 | 30 | no data | 66.3 | 98.124 | 5.2194 | 3.5266 | 0.098124 | 0.85455
PIS E4/96-M | Large vaccine cold box | Termo-Kont | TM52 | CB_large | 28.4 | 20.5 | 5.9 | 54 | 53 | 52 | 38 | 28 | 26 |  | 24 | 76 | no data | no data | 71.5 | 148.824 | 5.2403 | 2.5176 | 0.14882 | 1.1833
PIS E4/97-M | Large vaccine cold box | CIP Industries | LSR 50 | CB_large | 21.6 | 37.3 | 10.3 | 52 | 64 | 39 | 30 | 40 | 18 |  | 43 | 100 | no data | no data | 114.4 | 129.792 | 6.0089 | 5.2963 | 0.12979 | 0.50233
PIS E4/98-M | small vaccine cold box | CIP Industries | SLR 100 | CB_small | 9 | 24 | 11.2 | 52 | 64 | 39 | 30 | 20 | 15 |  | 22 | 112 | no data | no data | 110.5 | 129.792 | 14.4213 | 12.2778 | 0.12979 | 0.40909
PQS E004/001 | Large vaccine carrier | Coldpack SA | 7lt D | VC_large | 3 | 7.775 | 1.24 | 38 | 27 | 26 | 33.7 | 19.1 | 20.3 | 0.6 & 0.4 | 10 | 31.3 | no data | no data | 50 | 26.676 | 8.892 | 16.6667 | 0.026676 | 0.3
PQS E004/002 | Large vaccine carrier | Dometic | RCW 4 | VC_large | 3 | 7.3 | 3.1 | 36.2 | 28.3 | 29.9 |  |  |  | 0.6 & 0.3 | 7 | 30.3 | 12.9 | 6.7 | 252 | 30.6314 | 10.2105 | 84 | 0.030631 | 0.42857
PQS E004/003 | Small vaccine cold box | Dometic | RCW 8 | CB_small | 6 | 16.4 | 6.8 | 43.7 | 58.8 | 28.8 |  |  |  | 0.6 & 0.3 | 12 | 57.9 | 21.6 | 12 | 294 | 74.0033 | 12.3339 | 49 | 0.074003 | 0.5
PQS E004/004 | Small vaccine cold box | Dometic | RCW 12 | CB_small | 7 | 23.3 | 11.7 | 55 | 47.5 | 49.9 |  |  |  | 0.6 | 14 | 114.9 | 40.9 | 26.4 | 567.6 | 130.3638 | 18.6234 | 81.0857 | 0.13036 | 0.5
PQS E004/005 | Large vaccine cold box | Dometic | RCW 25 | CB_large | 20 | 38.9 | 15.9 | 71 | 55 | 49.9 |  |  |  | 0.6 | 24 | 134.6 | 49.5 | 34.4 | 720 | 194.8595 | 9.743 | 36 | 0.19486 | 0.83333
PQS E004/006 | Large vaccine carrier | Beijing | LCB-8A | VC_large | 1.6 | 5.3 | 1.94 | 34 | 23.4 | 27.5 |  |  |  | 0.4 | 6 | 38.25 | 12.03 | 6.02 | 11.82 | 21.879 | 13.6744 | 7.3875 | 0.021879 | 0.26667
PQS E004/007 | Small vaccine carrier | AOV International | ADVC-24 | VC_small | 0.8 | 2.18 | 1.34 | 25 | 18 | 21 |  |  |  | 0.4 | 2 | 20.3 | 7.9 | 3.88 | 9 | 9.45 | 11.8125 | 11.25 | 0.00945 | 0.4
PQS E004/008 | Large vaccine carrier | AOV International | AVC-44 | VC_large | 1.35 | 4.36 | 2.22 | 24 | 24 | 30 |  |  |  | 0.4 | 4 | 40 | 15.86 | 7.8 | 12.5 | 17.28 | 12.8 | 9.2593 | 0.01728 | 0.3375
PQS E004/009 | Large vaccine carrier | AOV International | AVC-46 | VC_large | 2.46 | 6.36 | 2.98 | 27 | 27 | 32 |  |  |  | 0.6 | 4 | 50.2 | 15.95 | 9.78 | 16 | 23.328 | 9.4829 | 6.5041 | 0.023328 | 0.615
PQS E004/010 | Large vaccine cold box | Apex International | AICB-444L | CB_large | 18 | 48.87 | 19.93 | 76.1 | 61.1 | 51.3 |  |  |  | 0.4 | 44 | 140 | 51 | 25 | 135 | 238.5301 | 13.2517 | 7.5 | 0.23853 | 0.40909
PQS E004/011 | Small vaccine carrier | Apex International | AIDVC-24 | VC_small | 0.9 | 2.27 | 1.31 | 25 | 18 | 21.4 |  |  |  | 0.4 | 2 | 21.5 | 8 | 4.5 | 8.75 | 9.63 | 10.7 | 9.7222 | 0.00963 | 0.45
PQS E004/012 | Large vaccine carrier | Apex International | AIVC-44 | VC_large | 1.6 | 4.33 | 1.93 | 25 | 25 | 30 |  |  |  | 0.4 | 4 | 39.5 | 13 | 6.33 | 12.75 | 18.75 | 11.7188 | 7.9688 | 0.01875 | 0.4
PQS E004/013 | Large vaccine cold box | Nilkamal | RCB 444L | CB_large | 23 | 38 | 17 | 77.4 | 61.6 | 53 |  |  |  | 0.4 | 44 | 130 | 20 | 26 | 94 | 252.6955 | 10.9868 | 4.087 | 0.2527 | 0.52273
PQS E004/014 | Large vaccine cold box | AOV International | ACB-444L | CB_large | 18 | 46.14 | 21.34 | 77 | 61 | 51 |  |  |  | 0.4 | 44 | 147.23 | 53.05 | 30.65 | 145 | 239.547 | 13.3082 | 8.0556 | 0.23955 | 0.40909
PQS E004/015 | Large vaccine cold box | AOV International | ACB-503L | CB_large | 18 | 45.86 | 21.78 | 77 | 61 | 51 |  |  |  | 0.3 | 50 | 126.5 | 44.8 | 28.08 | 145 | 239.547 | 13.3082 | 8.0556 | 0.23955 | 0.36
PQS E004/016 | Large vaccine cold box | AOV International | ACB-324SS | CB_large | 16 | 34.42 | 14.3 | 65 | 65 | 34.7 |  |  |  | 0.4 | 32 | 80.32 | 27.73 | 18.73 | 110 | 146.6075 | 9.163 | 6.875 | 0.14661 | 0.5
PQS E004/017 | Large vaccine cold box | AOV International | ACB-246LS | CB_large | 16 | 35 | 14.5 | 64.5 | 64 | 35 |  |  |  | 0.6 | 24 | 93.5 | 31.36 | 20.7 | 110 | 144.48 | 9.03 | 6.875 | 0.14448 | 0.66667
PQS E004/018 | Large vaccine cold box | Blow Kings | CB/12-CF | CB_large | 12 | 45 | 20.4 | 61 | 61 | 56 |  |  |  | 0.4 | 42 | 156 | 53 | 33 | 110 | 208.376 | 17.3647 | 9.1667 | 0.20838 | 0.28571
PQS E004/019 | Small vaccine cold box | Blow Kings | CB/55-CF | CB_small | 7 | 23 | 8.7 | 49 | 44 | 49 |  |  |  | 0.4 | 24 | 89 | 31 | 20 | 100 | 105.644 | 15.092 | 14.2857 | 0.10564 | 0.29167
PQS E004/020 | Large vaccine carrier | Blow Kings | BK-VC 2.6-CF | VC_large | 2.6 | 4.5 | 1.9 | 26 | 26 | 32 |  |  |  | 0.6 | 4 | 43 | 7 | 18 | 18 | 21.632 | 8.32 | 6.9231 | 0.021632 | 0.65
PQS E004/021 | Large vaccine carrier | Blow Kings | BK-VC 1.7-CF | VC_small | 1.7 | 4 | 1.6 | 26 | 25 | 28.5 |  |  |  | 0.4 | 4 | 38 | 13 | 6 | 12 | 18.525 | 10.8971 | 7.0588 | 0.018525 | 0.425
PQS E004/022 | Small vaccine carrier | Blow Kings | VDC-24-CF | VC_small | 0.9 | 2.2 | 1 | 22.5 | 16 | 25 |  |  |  | 0.4 | 2 | 20 | 6 | 3 | 9 | 9 | 10 | 10 | 0.009 | 0.45
PQS E004/023 | Small vaccine cold box | AOV International | ACB-264SL | CB_small | 6 | 25.4 | 12.82 | 62.4 | 50.2 | 42.6 |  |  |  | 0.4 | 26 | 132.3 | 48.68 | 29.78 | 105 | 133.4436 | 22.2406 | 17.5 | 0.13344 | 0.23077
PQS E004/024 | Large vaccine cold box | AOV International | ACB-316L | CB_large | 18 | 47.6 | 20.78 | 77 | 61.8 | 51.3 |  |  |  | 0.6 | 31 | 145.85 | 57..7 | 34.58 | 145 | 244.1162 | 13.562 | 8.0556 | 0.24412 | 0.58065
PQS E004/025 | Large vaccine cold box | Blow Kings | CB/20-CF | CB_large | 20 | 49.5 | 25 | 79.5 | 56.2 | 56.5 |  |  |  | 0.4 | 39 | 138 | 31 | 46 | 160 | 252.4364 | 12.6218 | 8 | 0.25244 | 0.51282
PQS E004/026 | Large vaccine cold box | Nilkamal | RCB 246 LS | CB_large | 16 | 34.8 | 14.2 | 65 | 65 | 37 |  |  |  | 0.6 | 24 | 73.5 | 19.43 | 26.1 | 100 | 156.325 | 9.7703 | 6.25 | 0.15632 | 0.66667
PQS E004/027 | Large vaccine cold box | Nilkamal | RCB 324 SS | CB_large | 15 | 31.8 | 14 | 65 | 65 | 37 |  |  |  | 0.4 | 32 | 53.6 | 16.38 | 21.05 | 100 | 156.325 | 10.4217 | 6.6667 | 0.15632 | 0.46875
PQS E004/028 | Small vaccine carrier | Nilkamal | SR 0.9L | VC_small | 0.9 | 2.4 | 1.3 | 26.6 | 18 | 21.5 |  |  |  | 0.3 | 2 | 17.83 | 4.433 | 4.53 | 8.7 | 10.2942 | 11.438 | 9.6667 | 0.010294 | 0.45
PQS E004/029 | Large vaccine carrier | Nilkamal | LR 1.5L | VC_large | 1.5 | 4.9 | 2.6 | 28 | 28 | 31.5 |  |  |  | 0.3 | 4 | 41 | 15.7 | 9.5 | 12.7 | 24.696 | 16.464 | 8.4667 | 0.024696 | 0.375
PQS E004/030 | Small vaccine cold box | Apex International | AICB 243S | CB_small | 8 | 22.41 | 11.57 | 54.4 | 44.5 | 42 |  |  |  | 0.3 | 24 | 84.1 | 27.85 | 17 | 130 | 101.6736 | 12.7092 | 16.25 | 0.10167 | 0.33333
PQS E004/031 | Large vaccine cold box | Apex International | AICB 503S | CB_large | 18 | 48.02 | 19.73 | 76.5 | 61.2 | 51.5 |  |  |  | 0.3 | 50 | 128.26 | 50.06 | 31.1 | 135 | 241.1127 | 13.3952 | 7.5 | 0.24111 | 0.36
PQS E004/032 | Large vaccine carrier | Gio'Style | --- | VC_large | 2.6 | 6.5 | 1.8 | 29 | 24 | 32 |  |  |  | 0.4 | 8 | 41 | 11 | 12 | 25.9 | 22.272 | 8.5662 | 9.9615 | 0.022272 | 0.325
PQS E004/041 | Long term storage | Aucma | ARKTEK-YBC-5 | LTS | 5.4 | 39.5 | 22 | 52.8 | 52.8 | 74.7 | 28.3 | 9.8 | 28.5 | 1 | 8 | 840 | 144 | #N/A | 2393 | 208.2516 | 38.5651 | 443.1481 | 0.20825 | 0.675
PQS E004/042 |  | EBARA CO. Ltd. | EBT-30 | CB_large | 16.5 | 14.7 | 2.24 | 70.3 | 1 | 1 |  |  |  | 0.4 | 16 | 60.5 | 38.25 | 18.45 | 400 | 70.3 | 4.2606 | 24.2424 | 7.03e-05 | 1.0312
PQS E004/043 |  | Blowkings | BK-VC 3.4 -CF | VC_large | 3.4 | 4.9 | 2.26 | 28.0 | 1 | 1 |  |  |  | 0.6 | 4 | 43.43 | 16 | 8 | 21 | 28 | 8.2353 | 6.1765 | 2.8e-05 | 0.85
PQS E004/044 |  | Apex International | AIVC-44LR | VC_large | 1.67 | 4.34 | 1.99 | 18.8 | 1 | 1 |  |  |  | 0.4 | 4 | 35.7 | 17.3 | 3.25 | 11.5 | 18.8 | 11.2575 | 6.8862 | 1.88e-05 | 0.4175
PQS E004/045 |  | Apex International | AICB-156L | VC_large | 5.5 | 22.33 | 9.4 | 99.7 | 1 | 1 |  |  |  | 0.6 | 15 | 107.5 | 33.7 | 22.9 | 130 | 99.7 | 18.1273 | 23.6364 | 9.97e-05 | 0.36667
PQS E004/046 |  | Apex International | AICB-316L | CB_large | 22.4 | 49.2 | 18.15 | 243.9 | 1 | 1 |  |  |  | 0.6 | 31 | 153.5 | 69 | 41.7 | 122 | 243.9 | 10.8884 | 5.4464 | 0.0002439 | 0.72258
PQS E004/047 |  | Apex International | AIVC-46 | VC_large | 2.9 | 5.36 | 2.63 | 27.5 | 1 | 1 |  |  |  | 0.3 | 4 | 51.08 | 25.11 | 12.55 | #N/A | 27.5 | 9.4828 | #N/A | 2.75e-05 | 0.725
PQS E004/048 |  | B Medical Systems Sarl | RCW1 | VC_large | 1.18 | 7.1 | 4.7 | 42.6 | 1 | 1 |  |  |  | 0.6 | 3 | 34.65 | 15.1 | 8.14 | 122.4 | 42.6 | 36.1017 | 103.7288 | 4.26e-05 | 0.39333
PQS E004/049 |  | Nilkamal Limited | BCVC43A | VC_large | 1.44 | 3.8 | 1.625 | 19.4 | 1 | 1 |  |  |  | 0.3 | 4 | 40 | 16.51 | 10.49 | 11 | 19.4 | 13.4722 | 7.6389 | 1.94e-05 | 0.36
PQS E004/050 | Freeze-Preventive Vaccine carrier Long range | AOV International LLP | AFVC-46 | VC_large | 1.5 | 8 | 4.2 | 28.8 | 1 | 1 |  |  |  | 0.6 | 4 | 34 | 17.15 | #N/A | 51 | 28.8 | 19.2 | 34 | 2.88e-05 | 0.375
PQS E004/051 | Freeze-Preventive Vaccine carrier Long range | Qingdao Leff International Trading Co Ltd | FFVC-1.7L | FF_VC_large | 1.7 | 8 | 4 | 28.5 | 1 | 1 |  |  |  | 0.6 | 4 | 33.42 | 15.17 | #N/A | 45 | 28.5 | 16.7647 | 26.4706 |  | 0.425
PQS E004/052 | Freeze-Preventive Vaccine carrier Long range | Blowkings | BK-VC-FF 1.6L | FF_VC_large | 1.6 | 6.4 | 3.4 | 27.2 | 1 | 1 |  |  |  | 0.4 | 4 | 30 | 20 | #N/A | 55 | 27.2 | 17 | 34.375 |  | 0.4
PQS E004/053 |  | Nilkamal Limited | BCVC44B | VC_large | 1.48 | 3.32 | 1.64 | 19.5 | 1 | 1 |  |  |  | 0.3 | 4 | 40.3 | 14.57 | 7.45 | 12 | 19.5 | 13.1757 | 8.1081 |  | 0.37
PQS E004/054 |  | Nilkamal Limited | BDVC44 | VC_large | 1.7 | 3.34 | 1.63 | 20 | 1 | 1 |  |  |  | 0.3 | 4 | 38.37 | 15.26 | 7.2 | 12 | 20 | 11.7647 | 7.0588 |  | 0.425
PQS E004/055 |  | Nilkamal Limited | BDVC46 | VC_large | 3.36 | 5.17 | 2.51 | 29.2 | 1 | 1 |  |  |  | 0.6 | 4 | 49.39 | 18.42 | 12.26 | 19 | 29.2 | 8.6905 | 5.6548 |  | 0.84
PQS E004/056 |  | Nilkamal Limited | RCB244SS | CB_small | 10.7 | 8.18 | 18.14 | 49.3 | 45.5 | 39.7 | 36.2 | 29.4 | 25.4 | 0.4 | 24 | 73.08 | 34.54 | 16.4 | 95 | 89053.055 | 8322.7154 | 8.8785 |  | 0.44583
PQS E004/057 | Freeze-Free Vaccine cold box Long range | Qingdao Leff International Trading Co Ltd | FFCB-15L | FF_CB_large | 15.4 | 49.9 | 24 | 77 | 54 | 47 | 41.5 | 18.5 | 20 | 0.6 | 21 | 106.09 | 55.24 | #N/A | 265 | 195426 | 12690 | 17.2078 |  | 0.73333
PQS E004/058 | Freeze-Free Vaccine carrier Long range | Nilkamal Limited | BCVC46LFF | FF_VC_large | 1.51 | 6.41 | 3.76 | 31.8 | 31.8 | 29.5 | 9.5 | 9.5 | 16.8 | 0.6 | 4 | 33.5 | 15.2 | #N/A | 44 | 29831.58 | 19756.0132 | 29.1391 |  | 0.3775
PQS E004/059 | Freeze-Free Vaccine carrier Long range | B Medical Systems Sarl | RCW1 | FF_VC_small | 1.04 | 7.6 | 4.8 | 34.7 | 28.1 | 43 | 10 | 10 | 20.8 | 0.6 | 3 | 32.07 | 17.08 | #N/A | 122.4 | 41928.01 | 40315.3942 | 117.6923 |  | 0.34667
PQS E004/060 | Vaccine carrier Long range | Rajas Enterprises | RE0333VC | VC_large | 1.65 | 4.76 | 2.01 | 24.8 | 29 | 24.6 | 10.2 | 10.1 | 16 | 0.3 | 4 | 30.22 | 12.38 | 7.05 | 12 | 17692.32 | 10722.6182 | 7.2727 |  | 0.4125
PQS E004/061 | Vaccine carrier short range | PARACOAT PRODUCTS LTD | 2CPCPVC-001 | VC_large | 1.77 | 2.95 | 0.82 | 24.6 | 30.5 | 24.7 | 10.4 | 10.4 | 16.4 | 0.4 | 4 | 23.58 | 9.9 | 6.33 |  | 18532.41 | 10470.2881 | 0 |  | 0.4425